## LabourLibraryDetails
Labour_SrNo | Labour_Name | Parent_SrNo | ItemType | Unit | LCat1 | LCat2 | LCat3 | LabourRate_Basic | Tax_Scheme_Id | Specification
1 | 05 RCC WORK ON ITEM RATE BASIS | 0 | Group |  |  |  |  | 0
2 | PCC | 1 | Labour | 127_Sq.ft | 77_04 Concrete Works |  |  | 24 | 9_C+S GST 18% I/P RD | LABOUR CHARGES FOR LAYING OF PCC BELOW FOOTING INCLUDING SURFACE DRESSING, SHUTTERING AND CONCRETE LAYING
3 | RCC FOOTINGS | 1 | Labour | 112_Nos | 77_04 Concrete Works |  |  | 5600 | 9_C+S GST 18% I/P RD | LABOUR CHARGES FOR RCC FOOTING WORK - SIZE 1500 MM × 1500 MM INCLUDING SHUTTERING, REINFORCEMENT CONCRETING, INCLUDING ALL LABOUR, TOOLS, TACKLES, CURING NECESSARY FOR COMPLETE EXECUTION AS PER DRAWINGS AND ENGINEER-IN-CHARGE'S INSTRUCTIONS.
4 | RCC COLUMNS | 1 | Labour | 124_Rft | 77_04 Concrete Works |  |  | 565 | 9_C+S GST 18% I/P RD | LABOUR CHARGES FOR RCC COLUMNS WORK - SIZE 400 MM X 400 MM INCLUDING SHUTTERING, REINFORCEMENT & CONCRETING INCLUDING ALL LABOUR, TOOLS, TACKLES, CURING NECESSARY FOR COMPLETE EXECUTION AS PER DRAWINGS AND ENGINEER-IN-CHARGE'S INSTRUCTIONS.
5 | RCC PLINTH BEAMS | 1 | Labour | 124_Rft | 77_04 Concrete Works |  |  | 462 | 9_C+S GST 18% I/P RD | LABOUR FOR RCC BEAMS 200 X 600 MM INCLUDING SHUTTERING, REINFORCEMENT & CONCRETING INCLUDING ALL LABOUR, TOOLS, TACKLES, CURING NECESSARY FOR COMPLETE EXECUTION AS PER DRAWINGS AND ENGINEER-IN-CHARGE'S INSTRUCTIONS.
6 | RCC GRADE SLAB | 1 | Labour | 127_Sq.ft | 77_04 Concrete Works |  |  | 39 | 9_C+S GST 18% I/P RD | RCC GRADE SLAB 200 MM THICK INCLUDING REINFORCEMENT, SHUTTERING, CONCRETING INCLUDING ALL LABOUR, TOOLS, TACKLES, CURING NECESSARY FOR COMPLETE EXECUTION AS PER DRAWINGS AND ENGINEER-IN-CHARGE'S INSTRUCTIONS.

## MasterDetails
Unit_List | LCat1_List | LCat2_List | LCat3_List | TaxScheme_List | ItemType
112_Nos | 74_01 Preliminary Works | 132_Hirining Charges |  | 1_C+S GST 5% I/P RD | Group
113_Bag | 75_02 Earthworks | 134_Housekeeping Charges |  | 2_I GST 5% I/P RD | Labour
114_Box | 76_03 Antitermite Treatment |  |  | 3_C+S GST 5% O/P RD
115_Cum | 77_04 Concrete Works |  |  | 4_I GST 5% O/P RD
116_Cft | 78_05 Masonry Works |  |  | 5_C+S GST 12% I/P RD
117_Job | 79_06 Plaster Work |  |  | 6_I GST 12% I/P RD
118_Kg | 80_07 POP/Gypsum/False Ceilings |  |  | 7_C+S GST 12% O/P RD
119_Ltr | 81_08 Waterproofing Works |  |  | 8_I GST 12% O/P RD
120_Month | 82_09 Tiling Works |  |  | 9_C+S GST 18% I/P RD
121_Hours | 83_10 Carpentry Works |  |  | 10_I GST 18% I/P RD
122_Day | 84_11 Aluminum Windows & Doors |  |  | 11_C+S GST 18% O/P RD
123_MT | 85_12 Fabrication Works |  |  | 12_I GST 18% O/P RD
124_Rft | 86_13 Painting Work |  |  | 13_C+S GST 28% I/P RD
125_Mtr | 87_14 Amenities |  |  | 14_I GST 28% I/P RD
126_Set | 88_15 Elevation Features / Façade |  |  | 15_C+S GST 28% O/P RD
127_Sq.ft | 89_16 Building Plumbing Works |  |  | 16_I GST 28% O/P RD
128_Sqm | 90_17 Elevator / Escalator Work |  |  | 17_C+SGST 0% URD
138_Bundle | 91_18 Fire Fighting Works
139_Rmt | 92_19 Internal Electrical Work
140_Trips | 93_20 Multi Level Parking Systems
141_Cm | 94_21 Solar Water System
142_Brass | 95_22 Solar PV System
143_Pairs | 96_23 Gas Bank / Gas Piping Work
144_Inch | 97_24 HVAC Works
146_Acre | 98_25 Solid Waste Management
147_Visit | 99_26 Interior Work
148_Coil | 100_27 Automation Works
101_28 External Electrical Work
102_29 External Plumbing Work
103_30 STP Plant & Machineries
104_31 Water Treatment Plant
105_32 Rain Water Harvesting
106_33 Landscape & Gardening Work
107_34 Road / Paving Work
108_35 Swimming Pool
109_36 Changes Work
110_37 Admin Expenses
111_38 Other Misc. Expenditure
112_39 Testing Work
113_40 Maintenance Work
114_41 Additional Site Execution
115_42 Marketing
116_43 Safety Works
117_44 Consultant Fees
118_45 BMU System
129_46 Finance & Liosoning
130_41.Admin Expenses
131_47. Legal & liasioning
133_Office Expenses
135_49 Sales Office & Sample Flat