## LabourLibraryDetails
Labour_SrNo | Labour_Name | Parent_SrNo | ItemType | Unit | LCat1 | LCat2 | LCat3 | LabourRate_Basic | Tax_Scheme_Id | Specification
1 | 44 Consultant Fees | 0 | Group |  |  |  |  | 0
2 | ERP Consultant Fees | 1 | Group |  |  |  |  | 0
3 | ERP Budget Updation | 2 | Labour | 189_Sqm | 161_44 Consultant Fees |  |  | 16.15
4 | ERP Consultancy Charges | 2 | Labour | 190_Job | 161_44 Consultant Fees |  |  | 30000
5 | Cost Consultant Fees | 1 | Group |  |  |  |  | 0
6 | Cost Consultancy Fees | 5 | Labour | 189_Sqm | 161_44 Consultant Fees |  |  | 21.53
7 | Architect Fees | 1 | Group |  |  |  |  | 0
8 | Architectural Services | 7 | Labour | 189_Sqm | 161_44 Consultant Fees |  |  | 322.92
9 | Architect Fees - Advance against Work Order | 7 | Labour | 189_Sqm | 161_44 Consultant Fees |  |  | 16.15
10 | Architect Fees - On Finalization of Conceptual Plans | 7 | Labour | 189_Sqm | 161_44 Consultant Fees |  |  | 48.44
11 | Architect Fees - On Approval of Plans | 7 | Labour | 189_Sqm | 161_44 Consultant Fees |  |  | 48.44
12 | Architect Fees - On Submission of Working Drawings | 7 | Labour | 189_Sqm | 161_44 Consultant Fees |  |  | 48.44
13 | Architect Fees - On Prorate Basis on Completion of Each Slab | 7 | Labour | 189_Sqm | 161_44 Consultant Fees |  |  | 145.31
14 | Architect Fees - On Completion Certificate | 7 | Labour | 189_Sqm | 161_44 Consultant Fees |  |  | 16.15
15 | 45 BMU System | 0 | Group |  |  |  |  | 0
16 | 01 Preliminary Works | 0 | Group |  |  |  |  | 0
17 | 01 Standard Labours | 16 | Group |  |  |  |  | 0
18 | Preliminary Works - Cum | 17 | Labour | 192_Cum | 118_01 Preliminary Works |  |  | 1 |  | Standard Labour
19 | Preliminary Works - Job | 17 | Labour | 190_Job | 118_01 Preliminary Works |  |  | 1 |  | Standard Labour
20 | Preliminary Works - Nos | 17 | Labour | 193_Nos | 118_01 Preliminary Works |  |  | 1 |  | Standard Labour
21 | Preliminary Works - Rmt | 17 | Labour | 191_Rmt | 118_01 Preliminary Works |  |  | 1 |  | Standard Labour
22 | Preliminary Works - Sqm | 17 | Labour | 189_Sqm | 118_01 Preliminary Works |  |  | 1 |  | Standard Labour
23 | 02 Other Preliminary Works | 16 | Group |  |  |  |  | 0
24 | 02 Earthworks | 0 | Group |  |  |  |  | 0
25 | 01 Standard Earthwork Labours | 24 | Group |  |  |  |  | 0
26 | Earthworks - Cum | 25 | Labour | 192_Cum | 119_02 Earthworks |  |  | 1 |  | Standard Labour
27 | Earthworks - Job | 25 | Labour | 190_Job | 118_01 Preliminary Works |  |  | 1 |  | Standard Labour
28 | Earthworks - Nos | 25 | Labour | 193_Nos | 119_02 Earthworks |  |  | 1
29 | Earthworks - Rmt | 25 | Labour | 191_Rmt | 119_02 Earthworks |  |  | 1
30 | 02 Earthworks by Mechanical Means | 24 | Group |  |  |  |  | 0
31 | Excavation in Soil / Murum - Mechanical Means | 30 | Labour | 192_Cum | 119_02 Earthworks |  |  | 280
32 | Excavation in Soft Rock - Mechanical Means | 30 | Labour | 192_Cum | 119_02 Earthworks |  |  | 310
33 | Excavation in Hard Rock - Mechanical Means | 30 | Labour | 192_Cum | 119_02 Earthworks |  |  | 600
34 | Excavation in Hard Rock - By Controlled Blasting | 30 | Labour | 192_Cum | 119_02 Earthworks |  |  | 750
35 | 03 Earthworks by Manual Means | 24 | Group |  |  |  |  | 0
36 | Excavation in Soil / Murum - Manually | 35 | Labour | 192_Cum | 119_02 Earthworks |  |  | 300
37 | Excavation in Soft Rock - Manually | 35 | Labour | 192_Cum | 119_02 Earthworks |  |  | 375
38 | Excavation in Hard Rock - Manually | 35 | Labour | 192_Cum | 119_02 Earthworks |  |  | 725
39 | 04 Backfilling Works | 24 | Group |  |  |  |  | 708
40 | Backfilling by Mechanical Means with available Murum | 39 | Labour | 192_Cum | 119_02 Earthworks |  |  | 213
41 | Backfilling by Mechanical Means with Contractor's Murum | 39 | Labour | 192_Cum | 119_02 Earthworks |  |  | 590
42 | Backfilling Manually with available murum | 39 | Labour | 192_Cum | 119_02 Earthworks |  |  | 270
43 | 05 Other Earthworks | 24 | Group |  |  |  |  | 0
44 | Rubble Soling - Sqm | 43 | Labour | 189_Sqm | 119_02 Earthworks |  |  | 375
45 | Rubble Soling - Cum | 43 | Labour | 192_Cum | 119_02 Earthworks |  |  | 1550
46 | Surface Dressing - By Mechanical Means | 43 | Labour | 189_Sqm | 119_02 Earthworks |  |  | 85
47 | Surface Dressing - By Manual Means | 43 | Labour | 189_Sqm | 119_02 Earthworks |  |  | 110
48 | 03 Antitermite Treatment | 0 | Group |  |  |  |  | 0
49 | Anti-Termite Treatment by Chemical Spray | 48 | Labour | 189_Sqm | 120_03 Antitermite Treatment |  |  | 35
50 | 04 Concrete Works | 0 | Group |  |  |  |  | 0
51 | 01 Standard Concrete Labours (Labour Only) | 50 | Group |  |  |  |  | 16.52
52 | PCC Works | 51 | Labour | 192_Cum | 121_04 Concrete Works |  |  | 1000
53 | Concrete Works all types | 51 | Labour | 192_Cum | 121_04 Concrete Works |  |  | 1300
54 | Shuttering Works | 51 | Labour | 189_Sqm | 121_04 Concrete Works |  |  | 750 |  | With Contractor's Shuttering Material
55 | Aluform Shuttering Works | 51 | Labour | 189_Sqm | 121_04 Concrete Works |  |  | 350 |  | Labour Rate Only
56 | Reinforcement Steel Works - Kg | 51 | Labour | 195_Kg | 121_04 Concrete Works |  |  | 14
57 | Reinforcement Steel Works - MT | 51 | Labour | 194_MT | 121_04 Concrete Works |  |  | 15000
58 | Plum Concrete Works - Cum | 51 | Labour | 192_Cum | 121_04 Concrete Works |  |  | 1650
59 | 02 RCC Works on Slab Area Basis | 50 | Group |  |  |  |  | 10796.3
60 | RCC Works on Slab Area Basis - Labour Only | 59 | Labour | 189_Sqm | 121_04 Concrete Works |  |  | 2615.65
61 | RCC Works on Slab Area Basis - With Material | 59 | Labour | 189_Sqm | 121_04 Concrete Works |  |  | 9149.4
62 | RCC Work For UGWT | 50 | Labour | 197_Ltr | 121_04 Concrete Works |  |  | 5
63 | 05 Masonry Works | 0 | Group |  |  |  |  | 0
64 | 01 Brickwork | 63 | Group |  |  |  |  | 0
65 | Brickwork - 100 mm thk | 64 | Labour | 189_Sqm | 122_05 Masonry Works |  |  | 215.28
66 | Brickwork - 150 mm thk | 64 | Labour | 189_Sqm | 122_05 Masonry Works |  |  | 269.1
67 | Brickwork - 230 mm thk | 64 | Labour | 189_Sqm | 122_05 Masonry Works |  |  | 322.92
68 | Brickwork - above 230 mm thk | 64 | Labour | 192_Cum | 122_05 Masonry Works |  |  | 1672
69 | 02 Blockwork | 63 | Group |  |  |  |  | 0
70 | Lightweight Blockwork - 125 mm thk | 69 | Labour | 189_Sqm | 122_05 Masonry Works |  |  | 250
71 | Lightweight Blockwork - 150 mm thk | 69 | Labour | 189_Sqm | 122_05 Masonry Works |  |  | 270
72 | Lightweight Blockwork - 200 mm thk | 69 | Labour | 189_Sqm | 122_05 Masonry Works |  |  | 325
73 | 03 Stone Masonry Works | 63 | Group |  |  |  |  | 0
74 | UCR Masonry Works | 73 | Labour | 192_Cum | 122_05 Masonry Works |  |  | 1600
75 | Corner Stone Fixing | 73 | Labour | 193_Nos | 122_05 Masonry Works |  |  | 75
76 | 04 Other Masonry Works | 63 | Group |  |  |  |  | 0
77 | 06 Plaster Work | 0 | Group |  |  |  |  | 0
78 | Internal Backcoat Plastering | 77 | Labour | 189_Sqm | 123_06 Plaster Work |  |  | 268
79 | Internal Single Coat Plaster | 77 | Labour | 189_Sqm | 123_06 Plaster Work |  |  | 310
80 | External Double Coat Plaster | 77 | Labour | 189_Sqm | 123_06 Plaster Work |  |  | 425
81 | 07 POP/Gypsum/False Ceilings | 0 | Group |  |  |  |  | 0
82 | Gypsum Punning | 81 | Group |  |  |  |  | 0
83 | Gypsum - Gypsum On wall 12MM | 82 | Labour | 189_Sqm | 124_07 POP/Gypsum/False Ceilings |  |  | 258.33
84 | Gypsum - Punning/Patra Finish | 82 | Labour | 189_Sqm | 124_07 POP/Gypsum/False Ceilings |  |  | 129.17
85 | False Ceilings | 81 | Group |  |  |  |  | 0
86 | Acrylic False Ceiling Works | 85 | Labour | 189_Sqm | 124_07 POP/Gypsum/False Ceilings |  |  | 1506.96
87 | 08 Waterproofing Works | 0 | Group |  |  |  |  | 0
88 | Brickbat Waterproofing | 87 | Labour | 189_Sqm | 125_08 Waterproofing Works |  |  | 366
89 | Shahabad Waterproofing work | 87 | Labour | 203_Sq.ft | 125_08 Waterproofing Works |  |  | 29
90 | Joint Treatment for Horizontal & Vertical Joints | 87 | Labour | 205_Rft | 125_08 Waterproofing Works |  |  | 35
91 | Pressure/ Nozal Grouting Waterproofing Treatment | 87 | Labour | 193_Nos | 125_08 Waterproofing Works |  |  | 375
92 | Gio & Dimple Sheet Laying | 87 | Labour | 203_Sq.ft | 125_08 Waterproofing Works |  |  | 25
93 | Joint Treatment Rate- Amended | 87 | Labour | 205_Rft | 125_08 Waterproofing Works |  |  | 60
94 | Tie Rod Filling | 87 | Labour | 193_Nos | 125_08 Waterproofing Works |  |  | 35
95 | HDPE Sheet Laying | 87 | Labour | 203_Sq.ft | 125_08 Waterproofing Works |  |  | 15
96 | 09 Tiling Works | 0 | Group |  |  |  |  | 0
97 | 10 Carpentry Works | 0 | Group |  |  |  |  | 0
98 | 11 Aluminum Windows & Doors | 0 | Group |  |  |  |  | 0
99 | 12 Fabrication Works | 0 | Group |  |  |  |  | 0
100 | Debries Chute | 99 | Group |  |  |  |  | 0
101 | Supply & Installation -Debries Chute | 100 | Labour | 191_Rmt | 129_12 Fabrication Works |  |  | 1800
102 | Supply & Installation - M S Railing | 99 | Labour | 203_Sq.ft | 129_12 Fabrication Works |  |  | 125
103 | 13 Painting Work | 0 | Group |  |  |  |  | 0
104 | 14 Amenities | 0 | Group |  |  |  |  | 0
105 | 15 Elevation Features / Façade | 0 | Group |  |  |  |  | 0
106 | 16 Building Plumbing Works | 0 | Group |  |  |  |  | 0
107 | Sanitary Fixtures & Fitting | 106 | Group |  |  |  |  | 81.42
108 | Fixing Wall Mounted WC | 107 | Group |  |  |  |  | 81.42
109 | Fixing WC | 108 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 644
110 | Fixing Chair Bracket C.I | 108 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 234
111 | Fixing Concealed Flush Tank | 108 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 351
112 | Fixing Flush Plate | 108 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 117
113 | Fixing Two way Bib Cock | 108 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 117
114 | Fixing Health Faucet | 108 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 117
115 | Fixing Wash Basin | 107 | Group |  |  |  |  | 81.42
116 | Wash Basin | 115 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 1170
117 | Fixing Piller Cock | 115 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 197
118 | Fixing Angle Valve | 115 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 98
119 | Fixing Urinal | 107 | Group |  |  |  |  | 81.42
120 | Urinal | 119 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 426
121 | Fixing Flush Valve | 119 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 266
122 | Fixing Waste Coupling | 119 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 80
123 | Fixing P Trap | 119 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 106
124 | Fixing S.S Grating | 119 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 106
125 | Internal Water Supply | 106 | Group |  |  |  |  | 81.42
126 | Fixing Pipes - Cold Water | 125 | Group |  |  |  |  | 81.42
127 | CPVC/UPVC - 15 mm Dia. | 126 | Labour | 191_Rmt | 133_16 Building Plumbing Works |  |  | 48
128 | CPVC/UPVC - 20 MM Dia. | 126 | Labour | 191_Rmt | 133_16 Building Plumbing Works |  |  | 59
129 | CPVC/UPVC - 25 MM Dia. | 126 | Labour | 191_Rmt | 133_16 Building Plumbing Works |  |  | 48
130 | CPVC/UPVC - 32 MM Dia. | 126 | Labour | 191_Rmt | 133_16 Building Plumbing Works |  |  | 69
131 | CPVC/UPVC - 40 MM Dia. | 126 | Labour | 191_Rmt | 133_16 Building Plumbing Works |  |  | 75
132 | CPVC/UPVC - 50 MM Dia. | 126 | Labour | 191_Rmt | 133_16 Building Plumbing Works |  |  | 96
133 | CPVC/UPVC - 65 MM Dia. | 126 | Labour | 191_Rmt | 133_16 Building Plumbing Works |  |  | 96
134 | CPVC/UPVC - 80 MM Dia. | 126 | Labour | 191_Rmt | 133_16 Building Plumbing Works |  |  | 128
135 | CPVC/UPVC- 100 MM Dia. | 126 | Labour | 191_Rmt | 133_16 Building Plumbing Works |  |  | 160
136 | Fixing Valve & Other Connection | 125 | Group |  |  |  |  | 627.76
137 | G.M Ball Valve - 15MM Dia | 136 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 48
138 | G.M Ball Valve - 20 MM Dia | 136 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 59
139 | G.M Ball Valve - 25 MM Dia | 136 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 64
140 | G.M Ball Valve - 32 MM Dia | 136 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 69
141 | G.M Ball Valve - 40 MM Dia | 136 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 75
142 | G.M Ball Valve - 50 MM Dia | 136 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 106
143 | Butterfly Valve - 50 MM Dia | 136 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 147
144 | Butterfly Valve - 65 MM Dia | 136 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 166
145 | Butterfly Valve - 80 MM Dia | 136 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 192
146 | Non Return Valve - 15MM Dia | 136 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 96
147 | Non Return Valve - 20MM Dia | 136 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 109
148 | Non Return Valve - 25MM Dia | 136 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 128
149 | Non Return Valve - 40MM Dia | 136 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 147
150 | Non Return Valve - 50MM Dia | 136 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 160
151 | PRV -25 MM Dia. | 136 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 639
152 | PRV -32 MM Dia | 136 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 882
153 | PRV -40 MM Dia | 136 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 997
154 | PRV -50 MM Dia | 136 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 1150
155 | GM Air Release Valve - 15 MM Dia | 136 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 96
156 | GM Air Release Valve - 20 MM Dia | 136 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 109
157 | GM Air Release Valve - 25 MM Dia | 136 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 128
158 | Solenoid Valve - 32 MM Dia | 136 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 213
159 | Solenoid Valve - 40 MM Dia | 136 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 266
160 | Digital water meter - 32 MM Dia. | 136 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 532
161 | Digital water meter - 32MM Dia | 136 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 532
162 | Brass Mosquito Proof Grating - 50 MM Dia. | 136 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 106
163 | G.I Pipes & Micron Strainer | 125 | Group |  |  |  |  | 0
164 | CI Body 300 Micron Strainer -65 MM Dia. | 163 | Labour | 193_Nos | 133_16 Building Plumbing Works |  |  | 166
165 | 17 Elevator / Escalator Work | 0 | Group |  |  |  |  | 0
166 | 18 Fire Fighting Works | 0 | Group |  |  |  |  | 0
167 | 01. GI 'C' Class Pipes | 166 | Group |  |  |  |  | 0
168 | 19 Internal Electrical Work | 0 | Group |  |  |  |  | 0
169 | 20 Multi Level Parking Systems | 0 | Group |  |  |  |  | 0
170 | 21 Solar Water System | 0 | Group |  |  |  |  | 0
171 | 22 Solar PV System | 0 | Group |  |  |  |  | 0
172 | 23 Gas Bank / Gas Piping Work | 0 | Group |  |  |  |  | 0
173 | 24 HVAC Works | 0 | Group |  |  |  |  | 0
174 | 25 Solid Waste Management | 0 | Group |  |  |  |  | 0
175 | 26 Interior Work | 0 | Group |  |  |  |  | 0
176 | 27 Automation Works | 0 | Group |  |  |  |  | 0
177 | 28 External Electrical Work | 0 | Group |  |  |  |  | 0
178 | DG WORKS | 177 | Group |  |  |  |  | 0
179 | Installation, testing and commissioning of DG | 178 | Labour | 190_Job | 145_28 External Electrical Work |  |  | 110954
180 | Liasoining Work | 177 | Labour | 190_Job | 145_28 External Electrical Work |  |  | 250000
181 | DISTRIBUTION PANEL & CABLING WORK | 177 | Group |  |  |  |  | 0
182 | ITC of DG DISTRIBUTION PANE | 181 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 13314.55
183 | Cable Laying 3.5C x 300 Sqmm XLPE-AL | 181 | Labour | 191_Rmt | 145_28 External Electrical Work |  |  | 84.33
184 | Cable Laying 4C x 4 Sqmm 2XWY CU. | 181 | Labour | 191_Rmt | 145_28 External Electrical Work |  |  | 21.3
185 | Cable Laying 19c x 2.5 Sqmm CU | 181 | Labour | 191_Rmt | 145_28 External Electrical Work |  |  | 28.4
186 | Cable Laying 3C x 2.5 Sqmm Shielded Cu. Cable | 181 | Labour | 191_Rmt | 145_28 External Electrical Work |  |  | 20.42
187 | End Termination 3.5C x 300 Sqmm XLPE-AL | 181 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 798.87
188 | End Termination 4C x 4 Sqmm 2XWY CU. | 181 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 230.79
189 | End Termination 19C x 2.5 Sqmm 2XWY CU. | 181 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 310.67
190 | End Termination 3C x 2.5 Sqmm Shielded Cu. Cable | 181 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 199.72
191 | DG EXHAUST PIPING | 177 | Group |  |  |  |  | 0
192 | SITC of Extension of D.G. Exhaust pipe | 191 | Labour | 191_Rmt | 145_28 External Electrical Work |  |  | 2219.09
193 | Providing and fixing MS supporting structure | 191 | Labour | 191_Rmt | 145_28 External Electrical Work |  |  | 13314.55
194 | Thermal insulation of exhaust pipeline | 191 | Labour | 191_Rmt | 145_28 External Electrical Work |  |  | 887.64
195 | COMPACT SUBSTATION | 177 | Group |  |  |  |  | 0
196 | 22 KV , 3C X 95 Sq.mm. HT XLPE Cable. | 195 | Labour | 191_Rmt | 145_28 External Electrical Work |  |  | 221.91
197 | Indoor End Termination for 22KV,3C X 95 Sq.mm. HT XLPE Cable | 195 | Labour | 201_Set | 145_28 External Electrical Work |  |  | 4882
198 | 22 KV, Compact Sub Station | 195 | Labour | 201_Set | 145_28 External Electrical Work |  |  | 106516.37
199 | LT ACB BOX | 177 | Group |  |  |  |  | 0
200 | 22 KV class Hand gloves. | 199 | Labour | 201_Set | 145_28 External Electrical Work |  |  | 88.76
201 | Laminated First aid chart with frame. | 199 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 443.82
202 | First aid box. | 199 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 443
203 | 3 Nos. of Fire buckets with stand. | 199 | Labour | 201_Set | 145_28 External Electrical Work |  |  | 1331.45
204 | 4.5 Kg. Co2 fire extinguisher mounted on wall with stand. | 199 | Labour | 201_Set | 145_28 External Electrical Work |  |  | 443.82
205 | 22 KV Danger boards of appropriate size & marking. | 199 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 621.35
206 | 440V Danger boards of appropriate size & marking. | 199 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 443.82
207 | High Voltage Electrical Insulation Synthetic Mats | 199 | Labour | 191_Rmt | 145_28 External Electrical Work |  |  | 133.15
208 | LT PANEL | 177 | Group |  |  |  |  | 0
209 | METER PANEL | 208 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 10651.64
210 | BUILDING COMMON PANEL (As per SLD) | 208 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 13314.55
211 | BUILDING HVAC PANEL (As per SLD) | 208 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 13314.55
212 | UGT Panel (As per SLD) | 208 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 13314.55
213 | STP Panel (As per SLD) | 208 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 7101
214 | PROJECT COMMON PANEL (As per SLD) | 208 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 8876.36
215 | FIRE PANEL (As per SLD) | 208 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 7101.09
216 | DISTRIBUTION BOARDS | 177 | Group |  |  |  |  | 0
217 | EV CHARGING DB | 216 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 1331.45
218 | PUZZLE PARKING DB | 216 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 1331.45
219 | COMMON AREA LIGHTING DB-1 (LDB-1) | 216 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 1331.45
220 | COMMON AREA LIGHTING DB-2,3 (LDB-2,3) | 216 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 1331.45
221 | ELDB- 01 & 02 | 216 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 1065.16
222 | ELDB- 03 | 216 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 1775.27
223 | MAIN LDB | 216 | Labour | 193_Nos |  |  |  | 1065.16
224 | MAIN ELDB | 216 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 1065.16
225 | Office DB- 8 Way TPN DB | 216 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 1065.16
226 | LIFT ELECTRICAL WORK | 177 | Group |  |  |  |  | 0
227 | 16Way SPN DB DD | 226 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 1200
228 | RCCB-4P-63A-300 ma | 226 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 50
229 | RCCB-2P-16A-30 ma | 226 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 50
230 | MCB 4P 63A 10KA | 226 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 50
231 | MCB 2P 16A 10KA | 226 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 50
232 | MCB 1P 10A 10KA | 226 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 50
233 | 6 amp one way switch | 226 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 35
234 | 6 amp socket | 226 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 50
235 | 6 amp ,2 pole mcb | 226 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 50
236 | 6 amp,2 way switch | 226 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 40
237 | 18w tube light 6500k | 226 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 300
238 | 16 sqmm X 4 core armored copper cable | 226 | Labour | 191_Rmt | 145_28 External Electrical Work |  |  | 37.94
239 | 2.5 sqmm X 3 core armored copper cable | 226 | Labour | 191_Rmt | 145_28 External Electrical Work |  |  | 39.94
240 | Point wiring for Light point | 226 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 1200
241 | Copper Earth Busbar - 25 X 3mm, 150mm length | 226 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 800
242 | Bulkhead (Industrial with metal body and glass protection) | 226 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 450
243 | 8 SWG Cu wire ( for lift inside shaft) | 226 | Labour | 191_Rmt | 145_28 External Electrical Work |  |  | 18
244 | Wooden board | 226 | Labour | 193_Nos |  |  |  | 150
245 | CABLE TRAYS | 177 | Group |  |  |  |  | 944
246 | 600MM X 75MM - Perforated Type | 245 | Labour | 191_Rmt | 145_28 External Electrical Work |  |  | 355.05
247 | 450MM X 75MM - Perforated Type | 245 | Labour | 191_Rmt | 145_28 External Electrical Work |  |  | 266.29
248 | 300MM X 50MM - Perforated Type | 245 | Labour | 191_Rmt | 145_28 External Electrical Work |  |  | 195.28
249 | 200MM X 50MM - Perforated Type | 245 | Labour | 191_Rmt | 145_28 External Electrical Work |  |  | 133.15
250 | 50MM X 50MM - Perforated Type | 245 | Labour | 191_Rmt | 145_28 External Electrical Work |  |  | 66.57
251 | Fabrication & installation Work | 245 | Labour | 195_Kg | 145_28 External Electrical Work |  |  | 28.4
252 | L.T CABLES & TERMINATIONS | 177 | Group |  |  |  |  | 944
253 | Cable Laying 3.5C X 300 Sq.mm A2XFY Cable | 252 | Labour | 191_Rmt | 145_28 External Electrical Work |  |  | 84.33
254 | Termination 3.5C X 70 Sq.mm A2XFY Cable | 252 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 443.82
255 | Termination 3.5C X 50 Sq.mm A2XFY Cable | 252 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 377.25
256 | Cable Laying 3.5C X 240 Sq.mm A2XFY Cable | 252 | Labour | 191_Rmt | 145_28 External Electrical Work |  |  | 79.89
257 | Termination 3.5C X 25 Sq.mm A2XFY Cable | 252 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 310.67
258 | Termination 4C x 16 Sq.mm. 2XWY cable. | 252 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 288.48
259 | Termination 4C x 10 Sq.mm. 2XWY cable. | 252 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 288.48
260 | Termination 4C x 6 Sq.mm. 2XWY cable. | 252 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 230.79
261 | Termination 4C x 4 Sq.mm. 2XWY cable. | 252 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 230.79
262 | Termination 4C x 2.5 Sq.mm. 2XWY cable. | 252 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 199.72
263 | Termination 3C x 2.5 Sq.mm. 2XWY cable. | 252 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 199.72
264 | Cable Laying 4C x 6 Sq.mm. 2XWY cable. | 252 | Labour | 191_Rmt | 145_28 External Electrical Work |  |  | 22.19
265 | Cable Laying 3.5C x 300 sqmm Aluminium armoured XLPE cable | 252 | Labour | 191_Rmt | 145_28 External Electrical Work |  |  | 84.33
266 | Cable Laying 3.5C x 240 sqmm Aluminium armoured XLPE cable | 252 | Labour | 191_Rmt | 145_28 External Electrical Work |  |  | 75.45
267 | Cable Laying 3.5C x 185 sqmm Aluminium armoured XLPE cable | 252 | Labour | 191_Rmt | 145_28 External Electrical Work |  |  | 71.9
268 | Cable Laying 3.5C X 185 Sq.mm A2XFY Cable | 252 | Labour | 191_Rmt | 145_28 External Electrical Work |  |  | 71.9
269 | End Termination 3.5Cx185 sqmm Aluminium armoured XLPE cable | 252 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 532.58
270 | End Termination 3.5Cx300 sqmm Aluminium armoured XLPE cable | 252 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 710.11
271 | End Termination 3.5Cx240 sqmm Aluminium armoured XLPE cable | 252 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 621.35
272 | Cable Laying 3.5C X 95 Sq.mm A2XFY Cable | 252 | Labour | 191_Rmt | 145_28 External Electrical Work |  |  | 60.36
273 | Cable Laying 3.5C X 70 Sq.mm A2XFY Cable | 252 | Labour | 191_Rmt | 145_28 External Electrical Work |  |  | 57.7
274 | Cable Laying 3.5C X 50 Sq.mm A2XFY Cable | 252 | Labour | 191_Rmt | 145_28 External Electrical Work |  |  | 48.82
275 | Cable Laying 4C x 4 Sq.mm. 2XWY cable. | 252 | Labour | 191_Rmt | 145_28 External Electrical Work |  |  | 21.3
276 | Cable Laying 3.5C X 25 Sq.mm A2XFY Cable | 252 | Labour | 191_Rmt | 145_28 External Electrical Work |  |  | 39.94
277 | Cable Laying 4C x 16 Sq.mm. 2XWY cable. | 252 | Labour | 191_Rmt | 145_28 External Electrical Work |  |  | 37.28
278 | Cable Laying 4C x 10 Sq.mm. 2XWY cable. | 252 | Labour | 191_Rmt | 145_28 External Electrical Work |  |  | 35.51
279 | Cable Laying 4C x 2.5 Sq.mm. 2XWY cable. | 252 | Labour | 191_Rmt | 145_28 External Electrical Work |  |  | 20.42
280 | Cable Laying 3C x 2.5 Sq.mm. 2XWY cable. | 252 | Labour | 191_Rmt | 145_28 External Electrical Work |  |  | 20.42
281 | Termination 3.5C X 300 Sq.mm A2XFY Cable | 252 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 798.87
282 | Termination 3.5C X 240 Sq.mm A2XFY Cable | 252 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 710.11
283 | Termination 3.5C X 185 Sq.mm A2XFY Cable | 252 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 576.96
284 | Termination 3.5C X 95 Sq.mm A2XFY Cable | 252 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 488.2
285 | POINT WIRING | 177 | Group |  |  |  |  | 944
286 | Primary Light Point controlled by 1 Switch | 285 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 665.73
287 | DB to SB circuit wiring | 285 | Labour | 191_Rmt | 145_28 External Electrical Work |  |  | 75
288 | 5KVA UPS | 285 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 13314.55
289 | Secondary Light point | 285 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 443.82
290 | Primary Light Point controlled by MCB | 285 | Labour | 193_Nos |  |  |  | 355.05
291 | Secondary point (Looping from point 3) | 285 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 355.05
292 | 1 Fan Point Controlled by 1 Switch | 285 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 621.35
293 | 1 Exhaust Fan & Wall Fan Point Controlled by 1 Switch | 285 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 710.11
294 | 6 Amp Switch Socket mounted on Independent Switchboard | 285 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 133.15
295 | 6 Amp Switch Socket mounted on Lighting/ Power Switchboard | 285 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 133.15
296 | ELECTRICAL FIXTURES | 177 | Group |  |  |  |  | 944
297 | Ceiling Light / Downlighter | 296 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 159.77
298 | Tube Light | 296 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 133.15
299 | Wall Light | 296 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 177.53
300 | Exhaust Fan | 296 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 443.82
301 | Ceiling Fan | 296 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 443.82
302 | EARTHING WORKS | 177 | Group |  |  |  |  | 944
303 | GI Earthing Rod - 88 mm X 3.0 mtr | 302 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 5769.64
304 | Copper Earthing Rod - 88 mm X 3.0 mtr | 302 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 5769.64
305 | Cu. Strip 50 x 6 mm | 302 | Labour | 195_Kg | 145_28 External Electrical Work |  |  | 53.26
306 | GI Strip 50 x 6 mm | 302 | Labour | 195_Kg | 145_28 External Electrical Work |  |  | 26.63
307 | 1C X 4 Sqmm Cable | 302 | Labour | 202_Mtr | 145_28 External Electrical Work |  |  | 15.98
308 | GI Strip 25 x 6 mm | 302 | Labour | 195_Kg | 145_28 External Electrical Work |  |  | 22.19
309 | LIGHTNING ARRESTOR | 177 | Group |  |  |  |  | 944
310 | AIR TERMINATION -SITC of 8mm Aluminium Solid Round Conductor | 309 | Labour | 202_Mtr | 145_28 External Electrical Work |  |  | 35.51
311 | DOWN CONDUCTOR - SITC of 8mm Aluminium Solid Round Conductor | 309 | Labour | 202_Mtr | 145_28 External Electrical Work |  |  | 53.26
312 | DOWN CONDUCTOR -SITC of stainless steel Metal roof conductor | 309 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 106.52
313 | DOWN CONDUCTOR -SITC of stainless steel conductor holder | 309 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 133.15
314 | DOWN CONDUCTOR -SITC of Lightning counter - LCD screen | 309 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 2216.09
315 | DOWN CONDUCTOR -SITC of stainless steel Test Joint with IP65 | 309 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 177.53
316 | AIR TERMINATION - steel Metal roof conductor holder | 309 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 88.76
317 | AIR TERMINATION -SITC of Expansion Piece with connector | 309 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 88.76
318 | AIR TERMINATION - Stainless Steel cross connector | 309 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 88.76
319 | AIR TERMINATION - 8mm Aluminium Conductor on Parapet | 309 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 88.76
320 | AIR TERMINATION - fixing the metal roof holder | 309 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 443.82
321 | AIR TERMINATION -SITC of Aluminium Straight conductor | 309 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 106.52
322 | AIR TERMINATION -SITC of 1m Vertical Air terminal dia 10mm | 309 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 1775.27
323 | CIVIL WORK (CHAMBER + RCC + DWC PIPES + FOUNDATIONS) | 177 | Group |  |  |  |  | 5237.06
324 | 150MM RCC HUME PIPE FOR LV CABLE | 323 | Labour | 202_Mtr | 145_28 External Electrical Work |  |  | 710
325 | 900 X 900 X 1050MM HT CHAMBER (L x W x D) | 323 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 4438.18
326 | 750 X 750 X 750MM LT CHAMBER (L x W x D) | 323 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 4438.18
327 | 600 X 600 X 600MM LV CHAMBER (L x W x D) | 323 | Labour | 193_Nos | 145_28 External Electrical Work |  |  | 4438.18
328 | 300MM RCC HUME PIPE FOR LT CABLE | 323 | Labour | 202_Mtr | 145_28 External Electrical Work |  |  | 887.64
329 | 300MM RCC HUME PIPE FOR HT CABLE | 323 | Labour | 202_Mtr | 145_28 External Electrical Work |  |  | 887.64
330 | 29 External Plumbing Work | 0 | Group |  |  |  |  | 0
331 | 01. Hume Pipe Laying | 330 | Group |  |  |  |  | 0
332 | 150MM RCC HUME PIPE LAYING | 331 | Labour | 202_Mtr | 146_29 External Plumbing Work |  |  | 710.11
333 | 02. Chamber Works | 330 | Group |  |  |  |  | 0
334 | 30 STP Plant & Machineries Works | 0 | Group |  |  |  |  | 0
335 | 31 Water Treatment Plant | 0 | Group |  |  |  |  | 0
336 | 32 Rain Water Harvesting | 0 | Group |  |  |  |  | 0
337 | 33 Landscape & Gardening Work | 0 | Group |  |  |  |  | 0
338 | 34 Road / Paving Work | 0 | Group |  |  |  |  | 0
339 | Paver Block Fixing Works | 338 | Labour | 189_Sqm | 151_34 Road / Paving Work |  |  | 215
340 | 35 Swimming Pool | 0 | Group |  |  |  |  | 0
341 | 36 Changes Work | 0 | Group |  |  |  |  | 0
342 | 37 Admin Expenses | 0 | Group |  |  |  |  | 0
343 | 38 Other Misc. Expenditure | 0 | Group |  |  |  |  | 0
344 | Rental 10HP Dewatering Pump | 343 | Labour | 198_Month | 155_38 Other Misc. Expenditure |  |  | 18000
345 | Re- Eration Work of Material | 343 | Labour | 190_Job | 155_38 Other Misc. Expenditure |  |  | 375000
346 | Extera Staging Charges | 343 | Labour | 190_Job | 155_38 Other Misc. Expenditure |  |  | 50000
347 | M S Sheet Fixing | 343 | Labour | 203_Sq.ft | 155_38 Other Misc. Expenditure |  |  | 11
348 | Cheker Plate Installation | 343 | Labour | 190_Job | 155_38 Other Misc. Expenditure |  |  | 5500
349 | Supply & Hole Drilling - C Channel | 343 | Labour | 195_Kg | 155_38 Other Misc. Expenditure |  |  | 95
350 | CCTV Mountable Rack | 343 | Labour | 190_Job | 155_38 Other Misc. Expenditure |  |  | 900
351 | CCTV Camera Installation | 343 | Labour | 193_Nos | 155_38 Other Misc. Expenditure |  |  | 240
352 | CCTV System Intallation | 343 | Labour | 190_Job | 155_38 Other Misc. Expenditure |  |  | 1400
353 | CCTV Surface Box | 343 | Labour | 190_Job | 155_38 Other Misc. Expenditure |  |  | 600
354 | CCTV Cabling | 343 | Labour | 190_Job | 155_38 Other Misc. Expenditure |  |  | 950
355 | Gypsum Partition Work | 343 | Labour | 203_Sq.ft | 155_38 Other Misc. Expenditure |  |  | 100
356 | Secuirity Guard | 343 | Labour | 204_Per Month | 155_38 Other Misc. Expenditure |  |  | 15500
357 | Providing & Fixing Bamboo Scaffolding | 343 | Labour | 203_Sq.ft | 155_38 Other Misc. Expenditure |  |  | 12
358 | Providing & Fixing - H Frame | 343 | Labour | 203_Sq.ft | 155_38 Other Misc. Expenditure |  |  | 15
359 | 39 Testing Work | 0 | Group |  |  |  |  | 0
360 | 01. Soil Investigation Works | 359 | Group |  |  |  |  | 0
361 | Drilling Exploratory Bores for Soil Investigation Works | 360 | Labour | 190_Job | 156_39 Testing Work |  |  | 15000
362 | Additional Depth for Exploratory Bores | 360 | Labour | 191_Rmt | 156_39 Testing Work |  |  | 1500
363 | Additional Rig Charges for Boring Exploratory Bores | 360 | Labour | 190_Job | 156_39 Testing Work |  |  | 6000
364 | Concrete & Other Material Testing Work | 359 | Group |  |  |  |  | 0
365 | Concrete Cube Testing | 364 | Labour | 193_Nos | 156_39 Testing Work |  |  | 210
366 | Density Test - AAC Block | 364 | Labour | 193_Nos | 156_39 Testing Work |  |  | 450
367 | Compressive Test - AAC Block | 364 | Labour | 193_Nos | 156_39 Testing Work |  |  | 562.5
368 | Compressive Test - Block Jointing Mortor | 364 | Labour | 193_Nos | 156_39 Testing Work |  |  | 450
369 | Split Tensile Strength | 364 | Labour | 193_Nos | 156_39 Testing Work |  |  | 1125
370 | 40 Maintenance Work | 0 | Group |  |  |  |  | 0
371 | 41 Additional Site Execution | 0 | Group |  |  |  |  | 0
372 | TPI | 371 | Labour | 190_Job | 158_41 Additional Site Execution |  |  | 3500
373 | 42 Marketing, Finance & Liosoning | 0 | Group |  |  |  |  | 0
374 | 43 Safety Works | 0 | Group |  |  |  |  | 0

## MasterDetails
Unit_List | LCat1_List | LCat2_List | LCat3_List | TaxScheme_List | ItemType
189_Sqm | 118_01 Preliminary Works |  |  | 53_GST 5% + 5% | Group
190_Job | 119_02 Earthworks |  |  | 55_GST 5+5% URD | Labour
191_Rmt | 120_03 Antitermite Treatment |  |  | 63_C+SGST 10+10%
192_Cum | 121_04 Concrete Works |  |  | 65_CGST2.5+CGST2.5
193_Nos | 122_05 Masonry Works |  |  | 66_IGST 10%
194_MT | 123_06 Plaster Work |  |  | 67_CGST 6% + SGST 6%
195_Kg | 124_07 POP/Gypsum/False Ceilings |  |  | 68_C+SGST 28%
196_Bag | 125_08 Waterproofing Works |  |  | 69_GST 9% +9%
197_Ltr | 126_09 Tiling Works |  |  | 70_Reverse Charge
198_Month | 127_10 Carpentry Works |  |  | 71_GST 5% + 5% Test
199_Month | 128_11 Aluminum Windows & Doors |  |  | 72_GST10+10
200_Box | 129_12 Fabrication Works |  |  | 73_CGST 2.5% + SGST 2.5%
201_Set | 130_13 Painting Work |  |  | 75_Input C+S GST 18% RD
202_Mtr | 131_14 Amenities |  |  | 76_Input C+S GST 28% RD
203_Sq.ft | 132_15 Elevation Features / Façade |  |  | 77_Input C+S GST 5% RD
204_Per Month | 133_16 Building Plumbing Works |  |  | 78_Output C+S GST 12% RD
205_Rft | 134_17 Elevator / Escalator Work |  |  | 79_Output C+S GST 18% RD
| 135_18 Fire Fighting Works |  |  | 80_Input C+S GST 12% RD
| 136_19 Internal Electrical Work |  |  | 81_NON GST
137_20 Multi Level Parking Systems
138_21 Solar Water System
139_22 Solar PV System
140_23 Gas Bank / Gas Piping Work
141_24 HVAC Works
142_25 Solid Waste Management
143_26 Interior Work
144_27 Automation Works
145_28 External Electrical Work
146_29 External Plumbing Work
147_30 STP Plant & Machineries
148_31 Water Treatment Plant
149_32 Rain Water Harvesting
150_33 Landscape & Gardening Work
151_34 Road / Paving Work
152_35 Swimming Pool
153_36 Changes Work
154_37 Admin Expenses
155_38 Other Misc. Expenditure
156_39 Testing Work
157_40 Maintenance Work
158_41 Additional Site Execution
159_42 Marketing, Finance & Liosoning
160_43 Safety Works
161_44 Consultant Fees
162_45 BMU System