## MaterialLibraryDetails
Material_SrNo | Material_Name | Parent_SrNo | Item_type | Unit_Commercial | Unit_Technical | Conversion_Factor | Transport_Charges | MCat1_Id | MCat2_Id | MCat3_Id | Price_Basic | Tax_Scheme_Id | Specification
1 | Material | 0 | Group |  |  | 1 | 0 |  |  |  | 0
2 | 02 Earthworks | 2 | Group |  |  | 1 | 0 |  |  |  | 0
3 | 02 Earthworks - M | 3 | Group |  |  | 1 | 0 |  |  |  | 0
4 | 01. Earthworks Material | 1 | Group |  |  | 1 | 0 |  |  |  | 0
5 | Murum | 4 | Material | 115_Cum | 115_Cum | 1 | 0 | 1869_01. Quarry Material |  |  | 250
6 | Rubble | 4 | Material | 115_Cum | 115_Cum | 1 | 0 | 1869_01. Quarry Material |  |  | 500
7 | 02. Antitermite Works Materials | 1 | Group |  |  | 1 | 0 |  |  |  | 0
8 | 03. Concrete/Masonry/Plaster/Waterproofing Materials | 1 | Group |  |  | 1 | 0 |  |  |  | 0
9 | 01. Cement | 8 | Group |  |  | 1 | 0 |  |  |  | 0
10 | Cement 50 Kg Bag | 9 | Material | 113_Bags | 113_Bags | 1 | 0 | 1871_03. Cement |  |  | 280
11 | Fly Ash | 9 | Material | 118_Kg | 118_Kg | 1 | 0 | 1871_03. Cement |  |  | 2
12 | White Cement | 9 | Material | 118_Kg | 118_Kg | 1 | 0 | 1871_03. Cement |  |  | 15
13 | Quick Setting Cement 15 kg | 9 | Material | 113_Bags | 113_Bags | 1 | 0 | 1877_09. Chemicals & Hardware |  |  | 53.33
14 | 02. Reinforcement Steel | 8 | Group |  |  | 1 | 0 |  |  |  | 0
15 | 08 mm DIA TMT Steel | 14 | Material | 118_Kg | 118_Kg | 1 | 0 | 1872_04. Reinforcement Steel |  |  | 45
16 | 10 mm DIA TMT Steel | 14 | Material | 118_Kg | 118_Kg | 1 | 0 | 1872_04. Reinforcement Steel |  |  | 45
17 | 12 mm DIA TMT Steel | 14 | Material | 118_Kg | 118_Kg | 1 | 0 | 1872_04. Reinforcement Steel |  |  | 45
18 | 16 mm DIA TMT Steel | 14 | Material | 118_Kg | 118_Kg | 1 | 0 | 1872_04. Reinforcement Steel |  |  | 45
19 | 20 mm DIA TMT Steel | 14 | Material | 118_Kg | 118_Kg | 1 | 0 | 1872_04. Reinforcement Steel |  |  | 45
20 | 25 mm DIA TMT Steel | 14 | Material | 118_Kg | 118_Kg | 1 | 0 | 1872_04. Reinforcement Steel |  |  | 45
21 | 32 mm DIA TMT Steel | 14 | Material | 118_Kg | 118_Kg | 1 | 0 | 1872_04. Reinforcement Steel |  |  | 45
22 | Binding Wire | 14 | Material | 118_Kg | 118_Kg | 1 | 0 | 1872_04. Reinforcement Steel |  |  | 60
23 | 40 mm DIA TMT Steel | 14 | Material | 118_Kg | 118_Kg | 1 | 0 | 1872_04. Reinforcement Steel |  |  | 45
24 | 03. Readymix Concrete | 8 | Group |  |  | 1 | 0 |  |  |  | 0
25 | Pumping Charges | 24 | Material | 115_Cum | 115_Cum | 1 | 0 | 1873_05. Ready-mix Concrete |  |  | 350
26 | RMC - M05 | 24 | Material | 115_Cum | 115_Cum | 1 | 0 | 1873_05. Ready-mix Concrete |  |  | 3850
27 | RMC - M10 | 24 | Material | 115_Cum | 115_Cum | 1 | 0 | 1873_05. Ready-mix Concrete |  |  | 4135
28 | RMC - M15 | 24 | Material | 115_Cum | 115_Cum | 1 | 0 | 1873_05. Ready-mix Concrete |  |  | 4500
29 | RMC - M20 | 24 | Material | 115_Cum | 115_Cum | 1 | 0 | 1873_05. Ready-mix Concrete |  |  | 5000
30 | RMC - M25 | 24 | Material | 115_Cum | 115_Cum | 1 | 0 | 1873_05. Ready-mix Concrete |  |  | 5100
31 | RMC - M30 | 24 | Material | 115_Cum | 115_Cum | 1 | 0 | 1873_05. Ready-mix Concrete |  |  | 4675
32 | RMC - M35 | 24 | Material | 115_Cum | 115_Cum | 1 | 0 | 1873_05. Ready-mix Concrete |  |  | 5825
33 | RMC - M40 | 24 | Material | 115_Cum | 115_Cum | 1 | 0 | 1873_05. Ready-mix Concrete |  |  | 5050
34 | RMC - M45 | 24 | Material | 115_Cum | 115_Cum | 1 | 0 | 1873_05. Ready-mix Concrete |  |  | 6150
35 | RMC - M50 | 24 | Material | 115_Cum | 115_Cum | 1 | 0 | 1873_05. Ready-mix Concrete |  |  | 6300
36 | RMC - M60 | 24 | Material | 115_Cum | 115_Cum | 1 | 0 | 1873_05. Ready-mix Concrete |  |  | 6590
37 | RMC - M35 - PT | 24 | Material | 115_Cum | 115_Cum | 1 | 0 | 1873_05. Ready-mix Concrete |  |  | 5425
38 | RMC - M40 - PT | 24 | Material | 115_Cum | 115_Cum | 1 | 0 | 1873_05. Ready-mix Concrete |  |  | 5475
39 | 04. Coarse Aggregates | 8 | Group |  |  | 1 | 0 |  |  |  | 0
40 | Coarse Aggregates - 10 mm | 39 | Material | 115_Cum | 115_Cum | 1 | 0 | 1874_06. Coarse Aggregates |  |  | 1512
41 | Coarse Aggregates - 20 mm | 39 | Material | 115_Cum | 115_Cum | 1 | 0 | 1874_06. Coarse Aggregates |  |  | 1512
42 | 05. Fine Aggregates | 8 | Group |  |  | 1 | 0 |  |  |  | 0
43 | Crushed Sand | 42 | Material | 115_Cum | 115_Cum | 1 | 0 | 1875_07. Fine Aggregates |  |  | 1250
44 | Ready Mix Plaster - 40 Kg | 42 | Material | 113_Bags | 113_Bags | 1 | 0 | 1875_07. Fine Aggregates |  |  | 215
45 | M Sand | 42 | Material | 115_Cum | 115_Cum | 1 | 0 | 1875_07. Fine Aggregates |  |  | 2500
46 | Crush Sand - Coarse | 42 | Material | 115_Cum | 115_Cum | 1 | 0 | 1874_06. Coarse Aggregates |  |  | 3000
47 | 06. Bricks / Blocks / Joining Mortar | 8 | Group |  |  | 1 | 0 |  |  |  | 0
48 | AAC Blocks of Various Sizes | 47 | Material | 115_Cum | 115_Cum | 1 | 0 | 1876_08. Bricks / Blocks |  |  | 3214.29
49 | Joining Mortar - 40 Kg Bag | 47 | Material | 113_Bags | 113_Bags | 1 | 0 | 1876_08. Bricks / Blocks |  |  | 300
50 | Clay Bricks - 4" thk. | 47 | Material | 112_Nos | 112_Nos | 1 | 0 | 1876_08. Bricks / Blocks |  |  | 8
51 | 07. Construction Chemicals | 8 | Group |  |  | 1 | 0 |  |  |  | 0
52 | Conbextra GP2 - 25 Kg | 51 | Material | 113_Bags | 113_Bags | 1 | 0 | 1877_09. Chemicals & Hardware |  |  | 472.5
53 | UGWT NITOBOND | 51 | Material | 119_Ltr | 119_Ltr | 1 | 0 | 1877_09. Chemicals & Hardware |  |  | 180
54 | Hack Aid Plast | 51 | Material | 119_Ltr | 119_Ltr | 1 | 0 | 1877_09. Chemicals & Hardware |  |  | 120
55 | Cybex - 100 | 51 | Material | 112_Nos | 112_Nos | 1 | 0 | 1877_09. Chemicals & Hardware |  |  | 150
56 | Penebar primer | 51 | Material | 119_Ltr | 119_Ltr | 1 | 0 | 1877_09. Chemicals & Hardware |  |  | 385
57 | SBS Material | 51 | Material | 128_Sqm | 189_Sqm | 1 | 0 | 1877_09. Chemicals & Hardware |  |  | 300
58 | Dimple Board | 51 | Material | 128_Sqm | 189_Sqm | 1 | 0 | 1877_09. Chemicals & Hardware |  |  | 100
59 | 08. Hardware & Misc. Materials | 8 | Group |  |  | 1 | 0 |  |  |  | 0
60 | 01. Cover Blocks | 59 | Group |  |  | 1 | 0 |  |  |  | 0
61 | Cover Blocks - Square - 20 mm | 60 | Material | 112_Nos | 112_Nos | 1 | 0 | 1872_04. Reinforcement Steel |  |  | 0.83
62 | Cover Blocks - Round - 25 mm | 60 | Material | 112_Nos | 112_Nos | 1 | 0 | 1872_04. Reinforcement Steel |  |  | 1.59
63 | Cover Blocks - Round - 40 mm | 60 | Material | 112_Nos | 112_Nos | 1 | 0 | 1872_04. Reinforcement Steel |  |  | 2.66
64 | Cover Blocks - Round - 50 mm | 60 | Material | 112_Nos | 112_Nos | 1 | 0 | 1872_04. Reinforcement Steel |  |  | 2.71
65 | 02. Hardware Plastering | 59 | Group |  |  | 1 | 0 |  |  |  | 0
66 | CHICKEN MESH 0.5 INCH X 0.5 INCH26 G | 65 | Material | 128_Sqm | 189_Sqm | 1 | 0 | 1877_09. Chemicals & Hardware |  |  | 35.96
67 | NAILS 1.5 INCH X 8 GUAGE | 65 | Material | 118_Kg | 118_Kg | 1 | 0 | 1877_09. Chemicals & Hardware |  |  | 97.2
68 | WASHER FOR CHICKEN MESH | 65 | Material | 118_Kg | 118_Kg | 1 | 0 | 1877_09. Chemicals & Hardware |  |  | 97.2
69 | 04. Gypsum/POP/False Ceilings Materials | 1 | Group |  |  | 1 | 0 |  |  |  | 0
70 | 01 Gypsum Materials | 69 | Group |  |  | 1 | 0 |  |  |  | 0
71 | 02. POP Materials | 69 | Group |  |  | 1 | 0 |  |  |  | 0
72 | 03. False Ceiling Materials | 69 | Group |  |  | 1 | 0 |  |  |  | 0
73 | 05. Flooring/Dado/Stone Works Materials | 1 | Group |  |  | 1 | 0 |  |  |  | 0
74 | 01. Flooring Tiles | 73 | Group |  |  | 1 | 0 |  |  |  | 0
75 | Vitrified Tile 600 X 600 | 74 | Material | 128_Sqm | 189_Sqm | 1 | 0 | 1878_10. Flooring/Dado/Stones |  |  | 430.56
76 | Vitrified Tile 600 X 1200 | 74 | Material | 128_Sqm | 189_Sqm | 1 | 0 | 1878_10. Flooring/Dado/Stones |  |  | 430.56
77 | Vitrified Tile 300 X 300 | 74 | Material | 128_Sqm | 189_Sqm | 1 | 0 | 1878_10. Flooring/Dado/Stones |  |  | 430.56
78 | 02. Dado / Wall Tiles | 73 | Group |  |  | 1 | 0 |  |  |  | 0
79 | Dado Tile - 300x600 | 78 | Material | 128_Sqm | 189_Sqm | 1 | 0 | 1878_10. Flooring/Dado/Stones |  |  | 340
80 | Tile Adhesive | 78 | Material | 113_Bags | 113_Bags | 1 | 0 | 1878_10. Flooring/Dado/Stones |  |  | 350
81 | Tile Dado 600 X 600 | 78 | Material | 128_Sqm | 189_Sqm | 1 | 0 | 1878_10. Flooring/Dado/Stones |  |  | 430.56
82 | Tile Dado 600 X 1200 | 78 | Material | 128_Sqm | 189_Sqm | 1 | 0 | 1878_10. Flooring/Dado/Stones |  |  | 430.56
83 | 03. Natural Stones | 73 | Group |  |  | 1 | 0 |  |  |  | 0
84 | Granite - Generic | 83 | Material | 128_Sqm | 189_Sqm | 1 | 0 | 1878_10. Flooring/Dado/Stones |  |  | 1185
85 | Marble - Generic | 83 | Material | 128_Sqm | 189_Sqm | 1 | 0 | 1878_10. Flooring/Dado/Stones |  |  | 1250
86 | Kota Stone | 83 | Material | 128_Sqm | 189_Sqm | 1 | 0 | 1878_10. Flooring/Dado/Stones |  |  | 650
87 | 04. Road Paving Material | 73 | Group |  |  | 1 | 0 |  |  |  | 0
88 | Paver Blocks - 200mm x 200mm x 80mm -M40 | 87 | Material | 127_Sft | 127_Sft | 1 | 0 | 1878_10. Flooring/Dado/Stones |  |  | 50
89 | Paver Blocks - 100mm x 100mm x 80mm - M40 | 87 | Material | 127_Sft | 127_Sft | 1 | 0 | 1878_10. Flooring/Dado/Stones |  |  | 50
90 | 06. Carpentry Works Materials | 1 | Group |  |  | 1 | 0 |  |  |  | 0
91 | 01. Doors & Doors Shutters | 90 | Group |  |  | 1 | 0 |  |  |  | 0
92 | 02. Lipping Patti / Molding Patti | 90 | Group |  |  | 1 | 0 |  |  |  | 0
93 | 03. Plywood | 90 | Group |  |  | 1 | 0 |  |  |  | 0
94 | 04. Laminates / Veneers | 90 | Group |  |  | 1 | 0 |  |  |  | 0
95 | 05. Solid Wood Doors | 90 | Group |  |  | 1 | 0 |  |  |  | 0
96 | 06. FRP Doors | 90 | Group |  |  | 1 | 0 |  |  |  | 0
97 | 07. Door Fittings | 90 | Group |  |  | 1 | 0 |  |  |  | 0
98 | 08. Raw Timber | 90 | Group |  |  | 1 | 0 |  |  |  | 0
99 | 07. Facade / Aluminum / Windows Materials | 1 | Group |  |  | 1 | 0 |  |  |  | 0
100 | 01. Facade Materials | 99 | Group |  |  | 1 | 0 |  |  |  | 0
101 | Cast In Channel | 100 | Material | 112_Nos | 112_Nos | 1 | 0 | 1881_13. Facade / Aluminum Material |  |  | 480
102 | T-Head Bolt | 100 | Material | 112_Nos | 112_Nos | 1 | 0 | 1881_13. Facade / Aluminum Material |  |  | 90
103 | 02. Aluminum Materials | 99 | Group |  |  | 1 | 0 |  |  |  | 0
104 | 03. Hardware Materials | 99 | Group |  |  | 1 | 0 |  |  |  | 0
105 | 08. Fabrication Materials | 1 | Group |  |  | 1 | 0 |  |  |  | 0
106 | 01. Structural Steel | 105 | Group |  |  | 1 | 0 |  |  |  | 0
107 | 02. Structural Hardware | 105 | Group |  |  | 1 | 0 |  |  |  | 0
108 | 09. Painting Materials | 1 | Group |  |  | 1 | 0 |  |  |  | 0
109 | 01. Paint Materials | 108 | Group |  |  | 1 | 0 |  |  |  | 0
110 | 02. Paint Hardware | 108 | Group |  |  | 1 | 0 |  |  |  | 0
111 | 10. Plumbing Materials | 1 | Group |  |  | 1 | 0 |  |  |  | 0
112 | 01. CP & Sanitary Fittings | 111 | Group |  |  | 1 | 0 |  |  |  | 0
113 | EWC Materials | 112 | Group |  |  | 1 | 0 |  |  |  | 0
114 | EWC - Wall Mounted | 113 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 3000
115 | CI Chair Bracket for EWC | 113 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 300
116 | Flush Tank | 113 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 1200
117 | Flush Plate | 113 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 1150
118 | Two way Bib Cock | 113 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 1000
119 | Health Faucet | 113 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 850
120 | Wash Basin Material | 112 | Group |  |  | 1 | 0 |  |  |  | 0
121 | Pillar Cock | 120 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 600
122 | Wash Basin | 120 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 1500
123 | Angle Valve | 120 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 800
124 | Waste Coupling | 120 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 370
125 | SS Bottle Trap | 120 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 800
126 | Urinal Material | 112 | Group |  |  | 1 | 0 |  |  |  | 0
127 | Urinal | 126 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 2600
128 | SS 'P' Trap | 126 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 800
129 | CP Cockroach Trap | 126 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 700
130 | Flush Valve | 126 | Group |  |  | 1 | 0 |  |  |  | 0
131 | Flush Valve - 1 1/4 (32mm) | 130 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 2500
132 | 02. CPVC Pipes & Fittings | 111 | Group |  |  | 1 | 0 |  |  |  | 0
133 | CPVC Pipe - 3 Mtr | 132 | Group |  |  | 1 | 0 |  |  |  | 0
134 | CPVC SDR 11 - 1/2" (15MM) | 133 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 229.2
135 | CPVC SDR 11 - 3/4" (20MM) | 133 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 353.6
136 | CPVC SDR 11 - 1" (25MM) | 133 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 533.6
137 | CPVC Coupler | 132 | Group |  |  | 1 | 0 |  |  |  | 0
138 | CPVC Coupler - 1/2" (15MM) | 137 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 11.7
139 | CPVC Coupler - 3/4" (20MM) | 137 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 14.1
140 | CPVC Coupler - 1" (25MM) | 137 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 23.2
141 | CPVC Coupler - 1 1/4" (32MM) | 137 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 47
142 | CPVC ELBOW (90deg) | 132 | Group |  |  | 1 | 0 |  |  |  | 0
143 | CPVC ELBOW - 1/2" (15MM) | 142 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 15.2
144 | CPVC ELBOW - 3/4" (20MM) | 142 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 17.3
145 | CPVC ELBOW - 1" (25MM) | 142 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 34.4
146 | CPVC Brass Elbow - 3/4" (20MM) | 142 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 93.9
147 | CPVC ELBOW (45deg) | 132 | Group |  |  | 1 | 0 |  |  |  | 0
148 | CPVC TEE | 132 | Group |  |  | 1 | 0 |  |  |  | 0
149 | CPVC TEE - 1/2" (15mm) | 148 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 20
150 | CPVC TEE -3/4 (20mm) | 148 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 28
151 | 03. uPVC Pipes & Fittings | 111 | Group |  |  | 1 | 0 |  |  |  | 0
152 | uPVC Pipes 3 mtr | 151 | Group |  |  | 1 | 0 |  |  |  | 0
153 | uPVC 3MTR Pipe SCH 80 | 152 | Group |  |  | 1 | 0 |  |  |  | 0
154 | uPVC 3MTR Pipe SCH 80 - 1/2" (15MM) | 153 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 4.42
155 | uPVC 3MTR Pipe SCH 80 - 1 1/2" (40MM) | 153 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 778.8
156 | uPVC 3MTR Pipe SCH 80 - 1 1/4" (32MM) | 153 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 637
157 | uPVC 3MTR Pipe SCH 80 - 1/2" (20MM) | 153 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 312.4
158 | uPVC 3MTR Pipe SCH 80 - 1" (25 mm) | 153 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 526.85
159 | uPVC 3MTR Pipe SCH 80 - 2" (50 mm) | 153 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 526.85
160 | uPVC 3MTR Pipe SCH 80 - 4" (100 mm) | 153 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 3280
161 | uPVC 3MTR Pipe SCH 80 - 6" (150 mm) | 153 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 1205.36
162 | uPVC 3MTR Pipe SCH 40 | 152 | Group |  |  | 1 | 0 |  |  |  | 0
163 | uPVC 3MTR Pipe SCH 40 - 1 1/2" (40MM) | 162 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 223.8
164 | uPVC 3MTR Pipe SCH 40 - 1 1/4" (32MM) | 162 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 187.39
165 | uPVC 3MTR Pipe SCH 40 - 4" (100 mm) | 162 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 889.42
166 | uPVC 3MTR Pipe SCH 40 - 6" (150 mm) | 162 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 1205.36
167 | uPVC 3MTR Pipe SCH 40 - 1/2" (15MM) | 162 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 71.62
168 | uPVC 3MTR Pipe SCH 40 - 3/4" (20MM) | 162 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 92.58
169 | uPVC 3MTR Pipe SCH 40 - 1" (25 mm) | 162 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 138.75
170 | uPVC 3MTR Pipe SCH 40 - 2 1/2" (65MM) | 162 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 472.12
171 | uPVC 3MTR Pipe SCH 40 - 2" (50 mm) | 162 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 299.85
172 | uPVC 3MTR Pipe SCH 40 - 3" (80 mm) | 162 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 618.67
173 | uPVC COUPLER SCH 80 | 151 | Group |  |  | 1 | 0 |  |  |  | 0
174 | uPVC Coupler SCH 80 - 1/2" (15MM) | 173 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 3.19
175 | uPVC Coupler SCH 80 - 3/4" (20MM) | 173 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 12.1
176 | uPVC Coupler SCH 80 - 1" (25MM) | 173 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 17.5
177 | uPVC Coupler SCH 80 - 1 1/4" (32MM) | 173 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 26.6
178 | uPVC Coupler SCH 80 - 1 1/2" (40MM) | 173 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 36.1
179 | uPVC Coupler SCH 80 - 2" (50MM) | 173 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 43.2
180 | uPVC ELBOW 45° | 151 | Group |  |  | 1 | 0 |  |  |  | 0
181 | uPVC TEE SCH 80 | 151 | Group |  |  | 1 | 0 |  |  |  | 0
182 | uPVC TEE SCH 80 - 3/4" (20MM) | 181 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 70
183 | uPVC TEE SCH 80 - 2" (50MM) | 181 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 957.9
184 | uPVC TEE SCH 80 - 1 1/4" (32MM) - | 181 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 20.26
185 | uPVC TEE SCH 80 - 1/2" (15MM) | 181 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 5.3
186 | uPVC FAPT | 151 | Group |  |  | 1 | 0 |  |  |  | 0
187 | uPVC FATP SCH 40 - 1/2" (15MM) | 186 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 6.1
188 | uPVC FATP SCH 40 - 3/4" (20MM) | 186 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 9.6
189 | uPVC FATP SCH 80 - 1/2" (15MM) | 186 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 9.8
190 | uPVC FATP SCH 80 - 3/4" (20MM) | 186 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 12.6
191 | uPVC BALL VALVE | 151 | Group |  |  | 1 | 0 |  |  |  | 0
192 | uPVC Ball Valve - 1/2" (15 mm) | 191 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 253
193 | uPVC Ball Valve - 3/4" (20MM) | 191 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 158.4
194 | uPVC Ball Valve - 1" (25MM) | 191 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 228.3
195 | uPVC Ball Valve - 1 1/4" (32MM) | 191 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 321.4
196 | uPVC Ball Valve - 1 1/2" (40MM) | 191 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 481.7
197 | uPVC Ball Valve - 2" (50MM) | 191 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 460
198 | uPVC ELBOW 90° SCH 80 | 151 | Group |  |  | 1 | 0 |  |  |  | 0
199 | uPVC Elbow 90° SCH 80 - 1/2" (15MM) | 198 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 4.42
200 | uPVC Elbow 90° SCH 80 - 3/4" (20MM) | 198 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 19.4
201 | uPVC Elbow 90° SCH 80 - 1" (25MM) | 198 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 26.6
202 | uPVC Elbow 90° SCH 80 - 1 1/4" (32MM) | 198 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 14.72
203 | uPVC Elbow 90° SCH 80 - 1 1/2" (40MM) | 198 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 52.2
204 | uPVC Elbow 90° SCH 80 - 2" (50MM) | 198 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 71.2
205 | uPVC Elbow 90° SCH 80 - 2 1/2" (65MM) | 198 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 53.36
206 | uPVC Elbow 90° SCH 80 - 3" (80MM) | 198 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 92.2
207 | uPVC MAPT | 151 | Group |  |  | 1 | 0 |  |  |  | 0
208 | uPVC MATP SCH 40 - 1/2" (15MM) | 207 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 5.1
209 | uPVC MATP SCH 40 - 3/4" (20MM) | 207 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 7.2
210 | uPVC MATP SCH 80 - 1/2" (15MM) | 207 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 6.8
211 | uPVC MATP SCH 80 - 3/4" (20MM) | 207 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 9.1
212 | uPVC UNION | 151 | Group |  |  | 1 | 0 |  |  |  | 0
213 | uPVC END CAP SCH 80 | 151 | Group |  |  | 1 | 0 |  |  |  | 0
214 | uPVC End Cap SCH 80 - 1/2" (15MM) | 213 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 2.23
215 | uPVC End Cap SCH 80 - 3/4" (20MM) | 213 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 8.4
216 | uPVC End Cap SCH 80 - 1" (25MM) | 213 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 12.1
217 | uPVC End Cap SCH 80 - 1 1/4" (32MM) | 213 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 6.16
218 | uPVC End Cap SCH 80 - 2" (50MM) | 213 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 37.5
219 | uPVC End Cap SCH 80 - 1 1/2" (40MM) | 213 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 9.2
220 | uPVC End Plug | 151 | Group |  |  | 1 | 0 |  |  |  | 0
221 | uPVC End Plug -1/2" (15mm) | 220 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 1.2
222 | Solvent | 151 | Group |  |  | 1 | 0 |  |  |  | 0
223 | uPVC Solvent | 222 | Material | 119_Ltr | 119_Ltr | 1 | 0 | 1883_15. Plumbing Materials |  |  | 500
224 | uPVC Bush | 151 | Group |  |  | 1 | 0 |  |  |  | 0
225 | uPVC Bush SCH 80 -1 1/2" x 1 1/4" | 224 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 100
226 | uPVC REDUCER TEE | 151 | Group |  |  | 1 | 0 |  |  |  | 0
227 | uPVC REDUCER TEE SCH 80 - 2" X 1/2" (50MM X 15MM) | 226 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 95.95
228 | uPVC REDUCER TEE SCH 80 - 1 1/2" X 1/2" (40MM X 15MM) | 226 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 7.88
229 | uPVC REDUCER TEE SCH 80 - 1 1/4" X 1/2" (32MM X 15MM) | 226 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 43.85
230 | uPVC REDUCER TEE SCH 80 - 1 1/2" X 1 1/4" (40MM X 32MM) | 226 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 35.6
231 | uPVC REDUCER TEE SCH 80 - 1/2" X 3/4" (15MM X 20MM) | 226 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 7.88
232 | uPVC REDUCER TEE SCH 80 - 1/2" X 1" (15MM X 25MM) | 226 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 11.02
233 | uPVC REDUCER TEE SCH 80 - 1 1/4" X 2" (32MM X 50MM) | 226 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 39.02
234 | uPVC REDUCER TEE SCH 80 - 1 1/4" X 2 1/2" (32MM X 65MM) | 226 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 77.96
235 | uPVC REDUCER TEE SCH 80 - 2 1/2" X 3" (32MM X 80MM) | 226 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 149.76
236 | uPVC REDUCER | 151 | Group |  |  | 1 | 0 |  |  |  | 0
237 | uPVC REDUCER SCH 80 - 2" X 1 1/2" (50MM X 40MM) | 236 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 20.63
238 | uPVC REDUCER SCH 80 - 3/4" X 1" (20MM X 25MM) | 236 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 4.72
239 | uPVC REDUCER SCH 80 - 1" X 1 1 1/4" (25MM X 32MM) | 236 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 9.25
240 | uPVC REDUCER SCH 80 - 1 1/4" X 1 1/2" (32MM X 40MM) | 236 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 12.45
241 | uPVC REDUCER SCH 80 - 2" X 2 1/2" (50MM X 65MM) | 236 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 41.5
242 | uPVC REDUCER SCH 80 - 2 1/2" X 3 1/4" (20MM X 25MM) | 236 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 59.38
243 | uPVC REDUCER SCH 80 - 2 1/2" X 3" (65MM X 85MM) | 236 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 59.38
244 | FTA Brass | 151 | Group |  |  | 1 | 0 |  |  |  | 0
245 | uPVC Brass FTA - 1 1/4" (32mm) | 244 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 50
246 | uPVC Brass FTA - 1 1/2" (40mm) | 244 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 60
247 | MTA Brass | 151 | Group |  |  | 1 | 0 |  |  |  | 0
248 | uPVC Brass MTA - 1 1/4" (32mm) | 247 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 50
249 | uPVC Step Over Bend | 151 | Group |  |  | 1 | 0 |  |  |  | 0
250 | uPVC Step Over Bend - 1/2" (15mm) | 249 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 60
251 | uPVC Brass Elbow | 151 | Group |  |  | 1 | 0 |  |  |  | 0
252 | uPVC Brass Elbow - 3/4" (20MM) | 251 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 300
253 | uPVC Brass Elbow - 1/2" (15MM) | 251 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 70
254 | uPVC REDUCER Bush Sch-80 | 151 | Group |  |  | 1 | 0 |  |  |  | 0
255 | uPVC REDUCER Bush Sch-80 1 1/4" x 1 1/2" (32mm x 40mm) | 254 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 4.18
256 | uPVC REDUCER Bush Sch-80 1 1/2" x 2" (40mm x 50mm) | 254 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 9.61
257 | uPVC REDUCER Bush Sch-80 2" x 2 1/2" (50mm x 65mm) | 254 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 13.61
258 | uPVC REDUCER Bush Sch-80 2 1/2" x 3" (65mm x 80mm) | 254 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 33.62
259 | uPVC SHOE SHE 80 | 151 | Group |  |  | 1 | 0 |  |  |  | 0
260 | uPVC SHOE SCH 80 - 1/2" (15MM) | 259 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 3.77
261 | uPVC SHOE SCH 80 - 3/4" (20MM) | 259 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 5.02
262 | uPVC SHOE SCH 80 - 1 1/4" (32MM) | 259 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 12.37
263 | uPVC ELBOW 90° SCH 40 | 151 | Group |  |  | 1 | 0 |  |  |  | 0
264 | uPVC Elbow 90° SCH 40 - 1 1/4" (32MM) | 263 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 34.2
265 | uPVC Elbow 90° SCH 40 - 1" (25MM) | 263 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 22.8
266 | uPVC Elbow 90° SCH 40 - 1/2" (15MM) | 263 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 5
267 | uPVC Elbow 90° SCH 40 - 3/4" (20MM) | 263 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 14.4
268 | uPVC Elbow 90° SCH 40 -1 1/2" (40MM) | 263 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 44.5
269 | uPVC COUPLER SCH 40 | 151 | Group |  |  | 1 | 0 |  |  |  | 0
270 | uPVC Coupler SCH 40 - 1 1/2" (40MM) | 269 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 28.9
271 | uPVC Coupler SCH 40 - 1 1/4" (32MM) | 269 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 21.7
272 | uPVC Coupler SCH 40 - 1" (25MM) | 269 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 14.4
273 | uPVC Coupler SCH 40 - 1/2" (15MM) | 269 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 3.19
274 | uPVC Coupler SCH 40 - 3/4" (20MM) | 269 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 9.6
275 | uPVC END CAP SCH 40 | 151 | Group |  |  | 1 | 0 |  |  |  | 0
276 | uPVC End Cap SCH 40 - 1" (25MM) | 275 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 10.3
277 | uPVC End Cap SCH 40 - 1/2" (15MM) | 275 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 5.1
278 | uPVC End Cap SCH 40 - 3/4" (20MM) | 275 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 6.8
279 | uPVC TEE SCH 40 | 151 | Group |  |  | 1 | 0 |  |  |  | 0
280 | uPVC TEE SCH 40 - 3/4" (20MM) | 279 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 17.5
281 | uPVC TEE SCH 40 - 1 1/4" (32MM) | 279 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 43.3
282 | uPVC TEE SCH 40 - 1" (25MM) | 279 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 30.1
283 | uPVC TEE SCH 40 - 1/2" (15MM) | 279 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 12.1
284 | Brass FT Elbow SCH 80 | 151 | Group |  |  | 1 | 0 |  |  |  | 0
285 | Brass FT Elbow SCH 80 - 15MM | 284 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 37.55
286 | 04. PVC SWR Pipes & Fittings | 111 | Group |  |  | 1 | 0 |  |  |  | 0
287 | PVC Self Fit Pipe 3mtr Pipe | 286 | Group |  |  | 1 | 0 |  |  |  | 0
288 | 3mtr PVC Pipe 1 1/2" (40mm) ( WHB & Sink) | 287 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 157
289 | 3mtr PVC Pipes 2" (50mm) - for Urinal | 287 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 267
290 | 3mtr PVC Pipes 2" (50mm) - for vent | 287 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 300
291 | 3mtr PVC Pipes 4" (100mm) | 287 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 350
292 | 3mtr PVC Pipes 3" (75mm) | 287 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 250
293 | 2mtr PVC Pipes 3" (75mm) | 287 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 250
294 | PVC SWR Type-B Pipe 3mtr Pipe | 286 | Group |  |  | 1 | 0 |  |  |  | 0
295 | PVC SWR Type B 3MTR Pipe (S/S) - 3" (75mm) | 294 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 768.3
296 | PVC SWR Type B 3MTR Pipe (S/S) - 4" (110mm) | 294 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 453
297 | PVC SWR Type B 3MTR Pipe (S/S) - 6" (160mm) | 294 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 850.5
298 | PVC SWR Type B 3MTR Pipe (S/S) - 2" (50mm) | 294 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 106.65
299 | PVC SWR TypeB 3MTR Pipe (D/S) 3MTR Pipe | 294 | Group |  |  | 1 | 0 |  |  |  | 0
300 | PVC SWR Type B 3MTR Pipe (D/S) - 3" (75mm) | 299 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 306.46
301 | PVC SWR Type B 6FT Pipe (D/S) - 3" (75mm) | 299 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 195
302 | PVC SWR Type B 6FT Pipe (D/S) - 4" (110mm) | 299 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 292
303 | PVC SWR Type-A Pipe 3mtr Pipe | 286 | Group |  |  | 1 | 0 |  |  |  | 0
304 | PVC SWR Type A 3MTR Pipe (S/S) - 3" (75mm) | 303 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 177.73
305 | PVC SWR Type A 3MTR Pipe (S/S) - 4" (110mm) | 303 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 310.5
306 | PVC SWR Type A 3MTR Pipe (S/S) - 6" (160mm) | 303 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 686
307 | PVC Fittings | 286 | Group |  |  | 1 | 0 |  |  |  | 0
308 | PVC Multi Floor 50 mm Deep Seal Trap | 307 | Group |  |  | 1 | 0 |  |  |  | 0
309 | Deep Seal Trap - 110X75X50mm dia. | 308 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 167
310 | UV Stabilzed PVC Cowl | 307 | Group |  |  | 1 | 0 |  |  |  | 0
311 | UV Stabilzed PVC Cowl - 2" (50mm) | 310 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 20
312 | UV Stabilzed PVC Cowl - 4" (110mm) | 310 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 40
313 | UV Stabilzed PVC Cowl - 3" (75mm) | 310 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 30
314 | PVC Cleanout Plug | 307 | Group |  |  | 1 | 0 |  |  |  | 0
315 | PVC Cleanout Plug 6" (160mm) | 314 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 350
316 | PVC Nahani trap 50mm deep seal | 307 | Group |  |  | 1 | 0 |  |  |  | 0
317 | PVC Nahani trap 50mm deep seal - 110X75mm dia. | 316 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 182
318 | Roof Corner Outlet | 307 | Group |  |  | 1 | 0 |  |  |  | 0
319 | Roof Corner Outlet - 3" (75mm) | 318 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 450
320 | Roof Corner Outlet - 4" (110mm) | 318 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 0
321 | Lead Flashing | 307 | Group |  |  | 1 | 0 |  |  |  | 0
322 | Lead Flashing -3mm thik 12x12 | 321 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 220
323 | PVC Bend | 286 | Group |  |  | 1 | 0 |  |  |  | 0
324 | PVC Bend - 4" (100mm) | 323 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 65
325 | PVC Tee | 286 | Group |  |  | 1 | 0 |  |  |  | 0
326 | PVC Tee - 2" (50mm) | 325 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 50
327 | PVC Tee - 3/4" (20mm) | 325 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 40
328 | PVC Tee - 4" (100mm) | 325 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 80
329 | PVC Tee - 1 1/2" (40mm) | 325 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 40
330 | PVC Reducer Tee | 286 | Group |  |  | 1 | 0 |  |  |  | 0
331 | PVC Reducer Tee - 4x3" | 330 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 65
332 | PVC Shoe | 286 | Group |  |  | 1 | 0 |  |  |  | 0
333 | PVC Shoe - 4" (100mm) | 332 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 65
334 | PVC Shoe - 3" (75mm) | 332 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 65
335 | PVC Shoe - 2" (50mm) | 332 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 50
336 | PVC Shoe - 1 1/2" (40mm) | 332 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 50
337 | PVC Elbow | 286 | Group |  |  | 1 | 0 |  |  |  | 0
338 | PVC Elbow - 3" (75MM) | 337 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 50
339 | PVC Elbow - 2" (50MM) | 337 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 50
340 | PVC Elbow - 1 1/2" (40MM) | 337 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 70
341 | PVC Solvent | 286 | Group |  |  | 1 | 0 |  |  |  | 0
342 | PVC Solvent - 1Ltr | 341 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 300
343 | PVC Lubricent | 341 | Material | 118_Kg | 118_Kg | 1 | 0 | 1883_15. Plumbing Materials |  |  | 300
344 | PVC Multifloor Trap | 286 | Group |  |  | 1 | 0 |  |  |  | 0
345 | PVC Multifloor Trap - 3" (75mm) | 344 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 75
346 | PVC Multifloor Trap - 4" (100mm) | 344 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 28
347 | PVC Y Fitings | 286 | Group |  |  | 1 | 0 |  |  |  | 0
348 | PVC Y - 3" Single 'Y' | 347 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 50
349 | PVC End Cap | 286 | Group |  |  | 1 | 0 |  |  |  | 0
350 | PVC End Cap - 1 1/2" (40mm) | 349 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 50
351 | PVC Plain Bend | 286 | Group |  |  | 1 | 0 |  |  |  | 0
352 | PVC Plain Bend - 4" (100mm) | 351 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 70
353 | PVC Nahani Trap | 286 | Group |  |  | 1 | 0 |  |  |  | 0
354 | PVC Nahani Trap - 3" (75mm) | 353 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 30
355 | PVC Self Fit Pipe 2mtr Pipe | 286 | Group |  |  | 1 | 0 |  |  |  | 0
356 | PVC Self Fit Pipe 1mtr Pipe | 286 | Group |  |  | 1 | 0 |  |  |  | 0
357 | 1mtr PVC Pipes 4" (100mm) - | 356 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 200
358 | PVC Self Fit Pipe 1/2 mtr Pipe | 286 | Group |  |  | 1 | 0 |  |  |  | 0
359 | 1/2 mtr PVC Pipes 3" (100mm) | 358 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 200
360 | PVC Bush | 286 | Group |  |  | 1 | 0 |  |  |  | 0
361 | PVC Bush - 2" x 1 1/2" (50mmx40mm) | 360 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 100
362 | PVC SWR Connector Pipe Type B (D/S) | 286 | Group |  |  | 1 | 0 |  |  |  | 0
363 | PVC SWR Connector Type B 3FT Pipe (D/S) - 3" (75mm) | 362 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 106
364 | PVC SWR Connector Type B 3FT Pipe (D/S) - 4" (110mm) | 362 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 160.69
365 | PVC SWR Elbow Type B (6kg) | 286 | Group |  |  | 1 | 0 |  |  |  | 0
366 | PVC SWR Elbow Type B (6kg) - 2" (50mm) | 365 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 13.7
367 | PVC SWR Shoe Bend Type B 45° | 286 | Group |  |  | 1 | 0 |  |  |  | 0
368 | PVC SWR Shoe Bend Type B 45° (6Kg) - 2" (50mm) | 367 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 15.17
369 | PVC SWR Shoe Bend Type B 45° (6Kg) - 3" (75mm) | 367 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 23.38
370 | PVC SWR Shoe Bend Type B 45° (6Kg) - 4" (110mm) | 367 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 48.5
371 | PVC SWR Plain Bend Type B 90° | 286 | Group |  |  | 1 | 0 |  |  |  | 0
372 | PVC SWR Plain Bend Type B 90° - 3" (75mm) | 371 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 29.78
373 | PVC SWR Plain Bend Type B 90° - 4" (110mm) | 371 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 55.5
374 | PVC SWR Bend With Door Type B | 286 | Group |  |  | 1 | 0 |  |  |  | 0
375 | PVC SWR Bend With Door Type B - 3" (75mm) | 374 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 29.78
376 | PVC SWR Bend With Door Type B - 4" (110mm) | 374 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 68.5
377 | PVC SWR End Cap Type B (6kg) | 286 | Group |  |  | 1 | 0 |  |  |  | 0
378 | PVC SWR End Cap Type B (6kg) - 2" (50mm) | 377 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 6.85
379 | PVC SWR Plain Tee Type B | 286 | Group |  |  | 1 | 0 |  |  |  | 0
380 | PVC SWR Plain Tee Type B - 3" (75mm) | 379 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 44
381 | PVC SWR Plain Tee Type B - 4" (110mm) | 379 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 78.66
382 | PVC SWR Reducer Bush Type B (6kg) | 286 | Group |  |  | 1 | 0 |  |  |  | 0
383 | PVC SWR Reducer Bush Type B (6kg) - 2" x 1 1/2" (50mmx40mm) | 382 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 7.15
384 | PVC SWR Plain Y Type B | 286 | Group |  |  | 1 | 0 |  |  |  | 0
385 | PVC SWR Plain Y Type B - 2" (50mm) | 384 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 21.92
386 | PVC SWR Plain Y Type B - 3" (75mm) | 384 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 52.79
387 | PVC SWR Plain Y Type B - 4" (110mm) | 384 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 90.44
388 | PVC SWR ECC Reducing Bush Type B | 286 | Group |  |  | 1 | 0 |  |  |  | 0
389 | PVC SWR ECC Reducing Bush Type B - 3" x 2" (75mm x 50mm) | 388 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 10.76
390 | PVC SWR ECC Reducing Bush Type B - 4" x 2" (110mm x 50mm) | 388 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 59.66
391 | PVC SWR Vent Cowl Type B | 286 | Group |  |  | 1 | 0 |  |  |  | 0
392 | PVC SWR Vent Cowl Type B - 3" (75mm) | 391 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 8.33
393 | PVC SWR Vent Cowl Type B - 4" (110mm) | 391 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 12.5
394 | PVC SWR Nahani Trap | 286 | Group |  |  | 1 | 0 |  |  |  | 0
395 | PVC SWR Nahani Trap - 3" (75mm) | 394 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 37.01
396 | PVC SWR Multi Floor Trap | 286 | Group |  |  | 1 | 0 |  |  |  | 0
397 | PVC SWR Multi Floor Trap - 4" x 3" (11omm x 75mm) | 396 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 62.3
398 | 05. GI Pipes & Fittings | 111 | Group |  |  | 1 | 0 |  |  |  | 0
399 | G.I. Pipe Inserts Flanged | 398 | Group |  |  | 1 | 0 |  |  |  | 0
400 | G.I. Pipe Inserts Flanged 2" (50mm) | 399 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 167
401 | G.I. Pipe Inserts Flanged 2 1/2" (65mm) | 399 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 300
402 | G.I. Pipe Inserts Flanged 3" (80mm) | 399 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 170
403 | G.I. Pipe Inserts Flanged 4" (100mm) | 399 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 200
404 | G.I. Pipe Inserts Flanged 6" (150mm) | 399 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 450
405 | G.I. Pipe Inserts Flanged 8" (200mm) | 399 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 460
406 | G.I. Pipe Inserts end Flanged | 398 | Group |  |  | 1 | 0 |  |  |  | 0
407 | 06. Composite Pipes & Fittings | 111 | Group |  |  | 1 | 0 |  |  |  | 0
408 | 07. HDPE Pipes & Fittings | 111 | Group |  |  | 1 | 0 |  |  |  | 0
409 | 08. MDPE Pipes & Fittings | 111 | Group |  |  | 1 | 0 |  |  |  | 0
410 | 09. CI Pipes & Fittings | 111 | Group |  |  | 1 | 0 |  |  |  | 0
411 | 10. DI Pipes & Fittings | 111 | Group |  |  | 1 | 0 |  |  |  | 0
412 | 11. DWC Pipes & Fittings | 111 | Group |  |  | 1 | 0 |  |  |  | 0
413 | 12. SWG Pipes & Accessories | 111 | Group |  |  | 1 | 0 |  |  |  | 0
414 | 13. RCC Precast Plumbing Materials | 111 | Group |  |  | 1 | 0 |  |  |  | 0
415 | Man Hole Frame & Cover | 414 | Group |  |  | 1 | 0 |  |  |  | 0
416 | Airtight FRP Manhole cover & frame of 600X600mm | 415 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 6800
417 | M.S. fabricated angle bracket 50x50x50mm | 415 | Material | 118_Kg | 118_Kg | 1 | 0 | 1883_15. Plumbing Materials |  |  | 250
418 | 14. Valves & Fixtures | 111 | Group |  |  | 1 | 0 |  |  |  | 0
419 | G.M. Ball Valve | 418 | Group |  |  | 1 | 0 |  |  |  | 0
420 | G.M. Ball Valve -1/2" (15mm) | 419 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 1200
421 | G.M. Ball Valve -3/4" (20mm) | 419 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 1200
422 | G.M. Ball Valve -1 1/4" (32mm) | 419 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 1200
423 | G.M. Ball Valve -1 1/2" (40mm) | 419 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 1200
424 | Butterfly Valve | 418 | Group |  |  | 1 | 0 |  |  |  | 0
425 | Butterfly Valve - 2 1/2" (65 mm) | 424 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 1200
426 | Butterfly Valve - 4" (100mm) | 424 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 4000
427 | Non Return Gun Metal valve | 418 | Group |  |  | 1 | 0 |  |  |  | 0
428 | Non Return gun Metal Valve -1 1/4" (32mm) | 427 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 1400
429 | Non Return gun Metal Valve -1 1/2" (40mm) | 427 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 1400
430 | Non Return Gun Metal Valve -3" (80mm) | 427 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 2200
431 | Non Return Valve - 4" (100mm) | 427 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 1400
432 | PVR Valve | 418 | Group |  |  | 1 | 0 |  |  |  | 0
433 | PVR Valve 1" (25mm) | 432 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 3500
434 | PVR Valve 1 1/4" (32mm) | 432 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 3500
435 | 300 Micron Strainer | 418 | Group |  |  | 1 | 0 |  |  |  | 0
436 | 300 Micron Strainer - 2 1/2" (65mm) | 435 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 3000
437 | 300 Micron Strainer - 4" (100mm) | 435 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 4000
438 | GM Air Release Valve | 418 | Group |  |  | 1 | 0 |  |  |  | 0
439 | GM Air Release Valve 1/2" (15mm) | 438 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 1150
440 | Solenoid Valve | 418 | Group |  |  | 1 | 0 |  |  |  | 0
441 | Solenoid Valve -1 1/4" (32mm) | 440 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 3200
442 | Solenoid Valve -1 1/2" (40mm) | 440 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 11500
443 | Digital water meter pipe Connection | 418 | Group |  |  | 1 | 0 |  |  |  | 0
444 | Digital water meter - 1 1/4" (32mm) | 443 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 2500
445 | Digital water meter - 1 1/2" (40mm) | 443 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 3200
446 | Digital water meter - 4" (100mm) | 443 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 2500
447 | Brass Mosquito Proof Grating | 418 | Group |  |  | 1 | 0 |  |  |  | 0
448 | Brass Mosquito Proof Grating 2" (50mm) | 447 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 900
449 | 15. Plumbing Hardware | 111 | Group |  |  | 1 | 0 |  |  |  | 0
450 | Anticorrosive tape | 449 | Material | 128_Sqm | 189_Sqm | 1 | 0 | 1883_15. Plumbing Materials |  |  | 150
451 | 300mm wide FRP grating Medium Duty | 449 | Material | 125_Rmt | 125_Rmt | 1 | 0 | 1883_15. Plumbing Materials |  |  | 2000
452 | Aco drain channel with gratings | 449 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 2000
453 | Teflon Tape | 449 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 20
454 | G.I. CLIPS | 449 | Group |  |  | 1 | 0 |  |  |  | 0
455 | G.I. CLIPS 2" (50mm) | 454 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 2.5
456 | G.I. CLIPS 1 1/2" (40mm) | 454 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 2.25
457 | G.I. CLIPS 1 1/4" (32mm) | 454 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 2
458 | G.I. NAIL | 449 | Group |  |  | 1 | 0 |  |  |  | 0
459 | G.I. NAIL - 1 1/2 (40mm) | 458 | Material | 118_Kg | 118_Kg | 1 | 0 | 1883_15. Plumbing Materials |  |  | 125
460 | GI U Boult With Nut & Washer | 449 | Group |  |  | 1 | 0 |  |  |  | 0
461 | GI U Boult With Nut & Washer - 20mmx6mm | 460 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 4.13
462 | GI U Boult With Nut & Washer - 25mm X 6mm | 460 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 4.83
463 | GI U Boult With Nut & Washer - 32mm X 8mm | 460 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 6.9
464 | GI U Boult With Nut & Washer - 40mm X 8mm | 460 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 7.74
465 | GI U Boult With Nut & Washer - 50mm X 8mm | 460 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 8.4
466 | GI U Boult With Nut & Washer - 65mm X 8 mm | 460 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 9.48
467 | GI U Boult With Nut & Washer - 80mm X 8 mm | 460 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 7.95
468 | GI U Boult With Nut & Washer - 2" X 8mm | 460 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 8.39
469 | GI U Boult With Nut & Washer - 3" x 8mm | 460 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 11
470 | GI U Boult With Nut & Washer - 4" X 8mm | 460 | Material | 112_Nos | 112_Nos | 1 | 0 | 1883_15. Plumbing Materials |  |  | 13
471 | 11. Electrical Materials | 1 | Group |  |  | 1 | 0 |  |  |  | 0
472 | 01. Electrical Concealed Materials | 471 | Group |  |  | 1 | 0 |  |  |  | 0
473 | 01. PVC Conduit Pipes and Fittings | 472 | Group |  |  | 1 | 0 |  |  |  | 0
474 | Conduit Pipe - 25 mm | 473 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 64.63
475 | PVC Bend - 25 mm | 473 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 8.8
476 | PVC Socket - 25 mm | 473 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 2.77
477 | Deep Junction Box - 40 mm | 473 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 19.3
478 | Solvent Bottle - 250 ml | 473 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 70.32
479 | Raddi News Paper | 473 | Material | 118_Kg | 118_Kg | 1 | 0 | 1884_16. Electrical Materials |  |  | 8
480 | Surface 12M | 472 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 102
481 | Surface Box - 6M | 472 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 170
482 | Surface Box - 8M | 472 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 254
483 | Surface Box - 2M | 472 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 98
484 | Metal Box - 12M 1mm | 472 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 83
485 | Metal Box - 8M 1mm | 472 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 62
486 | Metal Box - 2M 1mm | 472 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 28
487 | DB 3 SPN DD16 way | 472 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 4800
488 | Metal Box - 3M 1mm | 472 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 33
489 | 02. House Wires | 471 | Group |  |  | 1 | 0 |  |  |  | 0
490 | 03. Switches & Sockets | 471 | Group |  |  | 1 | 0 |  |  |  | 0
491 | Switch 6 A | 490 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 50
492 | Socket 6A | 490 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 239
493 | Switch 16 A | 490 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 418
494 | Socket 6/16A | 490 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 506
495 | Cable - 1Sq.mm 90Mtr | 490 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 2230
496 | Cable 2sq.mm 90mtr | 490 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 5150
497 | Plate 12M | 490 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 750
498 | Plate 8M - H | 490 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 492
499 | Plate 6M | 490 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 450
500 | Plate 3M | 490 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 232
501 | Plate 2M | 490 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 220
502 | Blank Plate | 490 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 54
503 | Fan Step 2M | 490 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 1144
504 | 04. DB Materials | 471 | Group |  |  | 1 | 0 |  |  |  | 0
505 | 01. Distribution Boxes | 504 | Group |  |  | 1 | 0 |  |  |  | 0
506 | 02. RCCB/ELCB/MCB/MCCB | 504 | Group |  |  | 1 | 0 |  |  |  | 0
507 | 05. D.G. Sets | 471 | Group |  |  | 1 | 0 |  |  |  | 0
508 | 06. Air Circuit Breakers (ACB) | 471 | Group |  |  | 1 | 0 |  |  |  | 0
509 | 07. LT/HT Cables & Joining Kits | 471 | Group |  |  | 1 | 0 |  |  |  | 0
510 | 1.5 sqmm X 2 Core Copper Flexible Cable | 509 | Material | 125_Rmt | 125_Rmt | 1 | 0 | 1884_16. Electrical Materials |  |  | 37
511 | 08. Energy Meters & Metering Kiosks | 471 | Group |  |  | 1 | 0 |  |  |  | 0
512 | 09. Feeder Pillars | 471 | Group |  |  | 1 | 0 |  |  |  | 0
513 | 10. Bus Bar Trunking System (BBT) | 471 | Group |  |  | 1 | 0 |  |  |  | 0
514 | 11. Internal / External Light Fittings | 471 | Group |  |  | 1 | 0 |  |  |  | 0
515 | LED Cob | 514 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 1200
516 | Hanging Light 40w | 514 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 2650
517 | LED Panel 15w | 514 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 296
518 | Holder Angel | 514 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 23
519 | Bulb 12 W | 514 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 77
520 | 12. Transformers | 471 | Group |  |  | 1 | 0 |  |  |  | 0
521 | 13. Automation & Security Systems | 471 | Group |  |  | 1 | 0 |  |  |  | 0
522 | 14. Change Over Panels | 471 | Group |  |  | 1 | 0 |  |  |  | 0
523 | 15. HT Breakers | 471 | Group |  |  | 1 | 0 |  |  |  | 0
524 | 16. External Electrical Materials | 471 | Group |  |  | 1 | 0 |  |  |  | 0
525 | 17. Misc. Electrical Materials | 471 | Group |  |  | 1 | 0 |  |  |  | 0
526 | G I Wire for Conduiting (Tomato Wire) | 525 | Material | 118_Kg | 118_Kg | 1 | 0 | 1884_16. Electrical Materials |  |  | 70
527 | Curtain Spring | 525 | Material | 114_Box | 114_Box | 1 | 0 | 1884_16. Electrical Materials |  |  | 100
528 | Halogen 250w | 525 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 500
529 | Led Tubelight | 525 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 40
530 | Industrial Board - 3 Phase & Single Phase | 525 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 400
531 | Single Phase Socket | 525 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 100
532 | Screw Wood 35x8 (100nos) | 525 | Material | 113_Bags | 113_Bags | 1 | 0 | 1884_16. Electrical Materials |  |  | 55
533 | Fastner 1o X 75 | 525 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 22
534 | Fastner Double Hook | 525 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 26
535 | 18. Electrical Low Voltage (ELV) Materials | 471 | Group |  |  | 1 | 0 |  |  |  | 0
536 | UTP Cat 6 100M | 535 | Material | 112_Nos | 112_Nos | 1 | 0 | 1884_16. Electrical Materials |  |  | 2457
537 | 12. Fire Fighting Works Materials | 1 | Group |  |  | 1 | 0 |  |  |  | 0
538 | 01. GI 'C' Class Pipes | 537 | Group |  |  | 1 | 0 |  |  |  | 0
539 | GI 'C' Class Pipes - 150 mm | 538 | Material | 125_Rmt | 125_Rmt | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 1335
540 | GI 'C' Class Pipes - 100 mm | 538 | Material | 125_Rmt | 125_Rmt | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 907
541 | GI 'C' Class Pipes - 80 mm | 538 | Material | 125_Rmt | 125_Rmt | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 618
542 | GI 'C' Class Pipes - 250 mm | 538 | Material | 125_Rmt | 125_Rmt | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 2610
543 | GI 'C' Class Pipes - 200 mm | 538 | Material | 125_Rmt | 125_Rmt | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 2100
544 | GI 'C' Class Pipes - 25 mm | 538 | Material | 125_Rmt | 125_Rmt | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 191
545 | GI 'C' Class Pipes - 65 mm | 538 | Material | 125_Rmt | 125_Rmt | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 501
546 | GI 'C' Class Pipes - 50 mm | 538 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 402
547 | GI 'C' Class Pipes - 40 mm | 538 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 285
548 | GI 'C' Class Pipes - 32 mm | 538 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 246
549 | Exhaust Pipe 100mm | 538 | Material | 125_Rmt | 125_Rmt | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 907
550 | Expansion Bellows 150mm | 538 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 7550
551 | 02. Pumps | 537 | Group |  |  | 1 | 0 |  |  |  | 0
552 | Booster Pump | 551 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 38040
553 | 3 Phase Starter - 15HP | 551 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 4500
554 | Hydrant Pump 2280 lpm - 100m head | 551 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 238300
555 | Disel Engine standby Pump | 551 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 516600
556 | Jockey Pump | 551 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 80620
557 | Antivibration Pad | 551 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 2500
558 | Vessale Tank - 100mm | 551 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 17500
559 | Pump Panel | 551 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 300000
560 | 03. CI Valves | 537 | Group |  |  | 1 | 0 |  |  |  | 0
561 | Gun Metal Air Release Valves | 560 | Group |  |  | 1 | 0 |  |  |  | 0
562 | Gun Metal Air Release Valve - 25mm dia | 561 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 667
563 | CI Butterfly Valve | 560 | Group |  |  | 1 | 0 |  |  |  | 0
564 | CI Butterfly Valve - 100mm dia. | 563 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 1591
565 | CI Butterfly Valve - 150mm dia. | 563 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 2341
566 | CI Butterfly Valve - 80mm dia. | 563 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 1321
567 | CI Butterfly Valve - 200mm dia. | 563 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 9500
568 | CI Butterfly Valve - 250mm dia. | 563 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 11415
569 | CI Butterfly Valve - 65mm dia. | 563 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 1197
570 | CI Butterfly Valve - 50mm dia. | 563 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 1082
571 | CI Non Return Valve | 560 | Group |  |  | 1 | 0 |  |  |  | 0
572 | CI Non Return Valve - 100mm dia | 571 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 1475
573 | CI Non Return Valve - 80mm dia PN -16 | 571 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 1150
574 | CI Non Return Valve - 150mm dia | 571 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 2555
575 | CI Non Return Valve - 200mm dia | 571 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 4320
576 | CI Brass Ball Valve | 560 | Group |  |  | 1 | 0 |  |  |  | 0
577 | CI Brass Ball Valve - 20mm dia | 576 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 347
578 | CI Brass Ball Valve - 25mm dia | 576 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 545
579 | Fire Alarm Valve 150mm | 560 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 31000
580 | 04. Strainer | 537 | Group |  |  | 1 | 0 |  |  |  | 0
581 | CI Y-Type Strainer 100mm Dia | 580 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 3867
582 | CI Y-Type Strainer 150mm Dia | 580 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 7588
583 | CI Y-Type Strainer 250mm Dia | 580 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 39920
584 | CI Y-Type Strainer 80mm Dia | 580 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 2686
585 | 05. Fire Extinguisher | 537 | Group |  |  | 1 | 0 |  |  |  | 0
586 | Fire Extinguisher - ABC Type 6 kg | 585 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 1400
587 | Fire Extinguisher - CO2 Type 4.5 kg | 585 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 4050
588 | 06. Fire Bucket | 537 | Group |  |  | 1 | 0 |  |  |  | 0
589 | Fire Bucket 9 Liter Capacity | 588 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 220
590 | Fire Bucket Stand | 588 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 1375
591 | 07. Hydrant | 537 | Group |  |  | 1 | 0 |  |  |  | 0
592 | Single Hydrant Valve 65mm | 591 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 4100
593 | Fire Hose Box | 591 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 4100
594 | Hose Pipe 63mm 15mtr Length | 591 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 3080
595 | Short Branch Pipe 63mm | 591 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 1340
596 | Rubber 20mm 30 Mtr Long | 591 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 6200
597 | Orifice Plates | 591 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 1200
598 | 4 Way Inlet | 591 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 6500
599 | Flexible Hose 1000mm | 591 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 480
600 | Structural Steel | 591 | Material | 118_Kg | 118_Kg | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 65
601 | 08. Cabient | 537 | Group |  |  | 1 | 0 |  |  |  | 0
602 | CRCA Cabinet | 601 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 4100
603 | 09. Pressure Switch & guage | 537 | Group |  |  | 1 | 0 |  |  |  | 0
604 | Pressure Switch 15mm Capacity 20kg | 603 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 981
605 | Pressure Gauge 100mm | 603 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 981
606 | Water Flow Switches | 603 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 4200
607 | 10. Fire Alarm Systm | 537 | Group |  |  | 1 | 0 |  |  |  | 0
608 | Manual Call Point | 607 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 3230
609 | Photoelectric Smoke Detector | 607 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 1952
610 | Heat Detector | 607 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 2043
611 | Fault Isolated Module | 607 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 2326
612 | 2 Loop Panel | 607 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 150000
613 | Ms Juction Box | 607 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 42
614 | Relay Module | 607 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 2713
615 | Moniter Module | 607 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 2299
616 | Control Module | 607 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 2713
617 | PA Talk Back Unit | 607 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 400
618 | Amplifier 250 watt | 607 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 2675
619 | Hooter | 607 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 8150
620 | PA Talk Back Panel | 607 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 14500
621 | 11. Cables | 537 | Group |  |  | 1 | 0 |  |  |  | 0
622 | Cable 0.5 Sqmm - 5 core | 621 | Material | 125_Rmt | 125_Rmt | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 110
623 | Cable 1.5 sqmm 2 core | 621 | Material | 125_Rmt | 125_Rmt | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 53
624 | Cable 35 Sqmm - 3 Core | 621 | Material | 125_Rmt | 125_Rmt | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 210
625 | Cable 10 Sqmm 3 Core | 621 | Material | 125_Rmt | 125_Rmt | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 120
626 | Cable 2.5 Sqmm - 6 core | 621 | Material | 125_Rmt | 125_Rmt | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 150
627 | 12. Sprinkler | 537 | Group |  |  | 1 | 0 |  |  |  | 0
628 | Pendent Type Sprinkler | 627 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 144
629 | Upright Type Sprinkler | 627 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 150
630 | Sidewall Type Sprinkler | 627 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 152
631 | Rosset Plate | 627 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 50
632 | 13. Battery | 537 | Group |  |  | 1 | 0 |  |  |  | 0
633 | Battery 12V | 632 | Material | 112_Nos | 112_Nos | 1 | 0 | 1885_17. Fire Fighting Materials |  |  | 8150
634 | 13. Solar Water Heating Materials | 1 | Group |  |  | 1 | 0 |  |  |  | 0
635 | 14. HVAC Works - Materials | 1 | Group |  |  | 1 | 0 |  |  |  | 0
636 | 15. Elevators / Escalators Materials | 1 | Group |  |  | 1 | 0 |  |  |  | 0
637 | 16. Multilevel Parking Systems Materials | 1 | Group |  |  | 1 | 0 |  |  |  | 0
638 | 17. Solar PV Systems Materials | 1 | Group |  |  | 1 | 0 |  |  |  | 0
639 | 18. Solid Waste Management Works Materials | 1 | Group |  |  | 1 | 0 |  |  |  | 0
640 | 19. Automation Works Materials | 1 | Group |  |  | 1 | 0 |  |  |  | 0
641 | 20. STP Works Materials | 1 | Group |  |  | 1 | 0 |  |  |  | 0
642 | 21. Water Treatment Plant Materials | 1 | Group |  |  | 1 | 0 |  |  |  | 0
643 | 22. Landscape and Gardening Materials | 1 | Group |  |  | 1 | 0 |  |  |  | 0
644 | 23. Swimming Pool Materials | 1 | Group |  |  | 1 | 0 |  |  |  | 0
645 | 24. Amenities Materials | 1 | Group |  |  | 1 | 0 |  |  |  | 0
646 | 25. Admin Materials | 1 | Group |  |  | 1 | 0 |  |  |  | 0
647 | 26. Safety Materials | 1 | Group |  |  | 1 | 0 |  |  |  | 0
648 | PP Rope - 12 MM | 647 | Material | 118_Kg | 118_Kg | 1 | 0 | 1899_31. Safety Materials |  |  | 175
649 | PP Rope - 6 MM | 647 | Material | 118_Kg | 118_Kg | 1 | 0 | 1899_31. Safety Materials |  |  | 175
650 | M S Pipe -50 MM Dia. @ 6 Mtr (18KG) | 647 | Material | 112_Nos | 112_Nos | 1 | 0 | 1899_31. Safety Materials |  |  | 1100
651 | Saftey Net | 647 | Material | 128_Sqm | 189_Sqm | 1 | 0 | 1899_31. Safety Materials |  |  | 145
652 | Fastner - 12 x 75 MM | 647 | Material | 112_Nos | 112_Nos | 1 | 0 | 1899_31. Safety Materials |  |  | 20
653 | Monofilament | 647 | Material | 112_Nos | 112_Nos | 1 | 0 | 1899_31. Safety Materials |  |  | 2500
654 | 27. BMU Materials | 1 | Group |  |  | 1 | 0 |  |  |  | 0
655 | 28. Construction Sundry Materials | 1 | Group |  |  | 1 | 0 |  |  |  | 0
656 | Water Tank | 655 | Material | 119_Ltr | 119_Ltr | 1 | 0 | 1901_33. Other Misc. Materials |  |  | 21240
657 | PVC Casing - 315mm | 655 | Material | 112_Nos | 112_Nos | 1 | 0 | 1901_33. Other Misc. Materials |  |  | 10382.95
658 | Curing pipe 3/4" 100' | 655 | Material | 112_Nos | 112_Nos | 1 | 0 | 1901_33. Other Misc. Materials |  |  | 800 |  | 1 Boundle -100 Ft
659 | Curing pipe 1" - 100' | 655 | Material | 112_Nos | 112_Nos | 1 | 0 | 1901_33. Other Misc. Materials |  |  | 800 |  | 1 Boundle - 1oo ft
660 | Green Net | 655 | Material | 127_Sft | 127_Sft | 1 | 0 | 1901_33. Other Misc. Materials |  |  | 45
661 | 10 sqmm 4 core Armored Copper Cable | 655 | Material | 125_Rmt | 125_Rmt | 1 | 0 | 1901_33. Other Misc. Materials |  |  | 200
662 | ELCB 4 Pole 63 Amp | 655 | Material | 112_Nos | 112_Nos | 1 | 0 | 1901_33. Other Misc. Materials |  |  | 22360
663 | MCB 4 Pole 63 Amp | 655 | Material | 112_Nos | 112_Nos | 1 | 0 | 1901_33. Other Misc. Materials |  |  | 1348
664 | Chequered plate 4x8 ft 6mm | 655 | Material | 118_Kg | 118_Kg | 1 | 0 | 1901_33. Other Misc. Materials |  |  | 90
665 | Celling Fan | 655 | Material | 112_Nos | 112_Nos | 1 | 0 | 1903_35. Furniture / Interiors |  |  | 1300

## MasterDetails
Unit_List | MCat1_List | MCat2_List | MCat3_List | TaxScheme_List | Item Type
112_Nos | 1498_AIR CONDITIONERS | 1504_AVG |  | 1_C+S GST 5% I/P RD | Group
113_Bags | 1500_AMENITIES & FACILITIES | 1508_Blinds/ Films |  | 2_I GST 5% I/P RD | Material
114_Box | 1502_ANP BULK MATERIALS | 1526_Ceililng Material |  | 3_C+S GST 5% O/P RD
115_Cum | 1510_Block | 1606_GLASS NEW WORK |  | 4_I GST 5% O/P RD
116_Cft | 1512_Brick | 1618_Hardware |  | 5_C+S GST 12% I/P RD
117_Job | 1514_BRICKS | 1632_IT |  | 6_I GST 12% I/P RD
118_Kg | 1516_Building Material | 1638_Laminate |  | 7_C+S GST 12% O/P RD
119_Ltr | 1520_C P Fittings | 1646_LIQUIDS |  | 8_I GST 12% O/P RD
120_Month | 1522_C. I. Material | 1670_MDF/ Boards |  | 9_C+S GST 18% I/P RD
121_Hour | 1524_Carpentry Material | 1768_Partition Material |  | 10_I GST 18% I/P RD
122_Day | 1528_Ceiling / Partition Material | 1781_Plywood |  | 11_C+S GST 18% O/P RD
123_MT | 1532_Cement | 1830_SOLIDS |  | 12_I GST 18% O/P RD
124_Rft | 1534_Cement 1 | 1847_TABLETS |  | 13_C+S GST 28% I/P RD
125_Rmt | 1536_cement bricks 3X4X9 | 1864_Wood |  | 14_I GST 28% I/P RD
126_Set | 1538_CEMENT NEW |  |  | 15_C+S GST 28% O/P RD
127_Sft | 1540_CementNileshD |  |  | 16_I GST 28% O/P RD
128_Sqm | 1542_CGI SHEET
1544_Chairs / Sofa
1546_Chequered Tiles
1548_China Furnitue
1550_Civil Material
1552_COFFEE
1554_COLD SYRUP
1556_Construction Chemical
1558_Crockery Material
1560_CUDDAPAH
1564_Diesel
1566_Door Fittings
1568_DOORS & WINDOWS
1570_Dubber/ Murum
1572_Electrical Material
1574_ELECTRICALS
1576_False Flooring
1580_FEWER SYRUP
1588_Flyash
1590_Furniture
1592_FURNITURE & FIXTURE
1594_G.I Fitting
1596_G.I. Barrel Piece
1598_G.I. Flange & Clip
1600_G.I. Pipe
1602_GENERAL
1604_Glass Material
1608_Glass Work
1610_GRANITE
1612_Green Hose Pipe
1614_Gym Equipment
1617_HARDWARE
1620_Hardware Material
1622_HEADACHE TABLETS
1624_high category cement
1626_Housing Keeping
1628_Hutment Material
1630_Interior Material
1634_KOTA
1636_Labour Charges
1642_Lift
1644_Lime/Sanla
1648_M.S Door Frames
1650_M.S. Door Shutter
1652_M.S. Window
1654_M.S.Material
1656_Machinery / Tools & Plants
1658_Machinery On Rent
1660_Machinery Spares
1662_Maintenance
1664_Manglore Tiles
1666_MARBLE
1668_Marble & Ganite
1672_Metal
1674_Metal 1
1676_Metal Stone
1678_METAL TRAY
1680_Misc.
1682_Miscellaneous Items
1684_Modular Furniture
1686_NAccessories
1688_NAdhesive
1690_NBlinds
1692_NBoard
1694_NCeiling
1696_NCeiling & Partition
1698_NCeiling Material-Gypsum
1700_NCeiling Material-Modular
1702_NCement
1704_NChair
1706_NDoor
1708_NDry Walls
1710_NElectrical
1712_NEquipment Rental
1714_NFinishes
1716_NFire Fighting
1718_NFlooring
1720_NGlass
1722_NGlass Film
1724_NHardware
1726_NHardware-Gysum
1728_NHardware-Modular
1730_NLaminate
1732_NLighting
1734_NLipping
1736_NLocks
1738_NM.S. Material
1740_NMDF
1742_NPartition
1744_NPlywood
1746_NProtective Chemicals
1748_NSafety Material
1750_NSealant
1752_NSofa
1754_NTable
1756_Nursery Material
1758_NWood
1760_Other
1762_Paint
1764_Paints ANP
1766_PAPER PRODUCT
1770_PAVER BLOCK
1772_Paving Block
1774_PEX Pipe & Fitting
1776_Playing Equipment
1778_PLUMBING & SANITARY
1782_Plywood
1784_POWDER
1786_PPRC
1788_Printing Stationery
1790_PUMP
1792_PVC Door
1794_PVC Pipes & Fittings
1798_RCC Chamber Cover With Frame
1800_RCC Pipe.& SW pipe & Fitting
1802_READY MIX CONCRETE
1804_RMC
1806_SAFETY & SECURITY
1808_Safety material
1812_SAND
1814_Sand 1
1816_Sanitaryware
1818_Sanitaryware1
1820_Services
1822_Shuttering Material
1824_Signage & Name Plate
1826_Site Office Furniture
1828_SLIDING DOOR SHUTTER
1832_Stationery
1836_STEEL
1838_STONE CHIPS
1840_Structural Steel
1842_SURGICAL GOODS
1844_SYRUPS
1848_TABLETS
1850_TALCUM POWDER
1852_Testing Equipment
1854_TILES
1856_Tiles/Grenite/Marble
1858_Valves
1860_Water
1863_Wood
1866_Wooden & Plywood Material
1868_WOODEN FLOORING
1869_01. Quarry Material
1870_02. Antitermite Works Material
1871_03. Cement
1872_04. Reinforcement Steel
1873_05. Ready-mix Concrete
1874_06. Coarse Aggregates
1875_07. Fine Aggregates
1876_08. Bricks / Blocks
1877_09. Chemicals & Hardware
1878_10. Flooring/Dado/Stones
1879_11. Gypsum/POP/False Ceiling
1880_12. Carpentry Materials
1881_13. Facade / Aluminum Material
1882_14. Fabrication Materials
1883_15. Plumbing Materials
1884_16. Electrical Materials
1885_17. Fire Fighting Materials
1886_18. Solar Water Heating
1887_19. HVAC Materials
1888_20. Elevators / Escalators
1889_21. Multilevel Parking Systems
1890_22. Solar PV Systems Materials
1891_23. Solid Waste Management
1892_24. Automation Works
1893_25. STP Works Materials
1894_26. WTP Materials
1895_27. Landscaping & Gardening
1896_28. Swimming Pool Materials
1897_29. Amenities Materials
1898_30. Admin Materials
1899_31. Safety Materials
1900_32. BMU Materials
1901_33. Other Misc. Materials
1902_34. Hardware Materials
1903_35. Furniture / Interiors